## Notes and Credits
This spreadsheet was completed by Will Brownsberger, March 5, 2011 (updated on March 15)
All data in the spreadsheet is subject to continued vetting and may be modified in future versions.
willbrownsberger.com
willbrownsberger@gmail.com
617-771-8274
It summarizes cost-benefit analysis of Deep Energy Retrofit Project conducted at 118-120 Gilbert Road, Belmont in 2010.
This is a two family structure occupied by Will and Carolyn Brownsberger and by Carl and Susan Brownsberger.
Renovations included finishing the attic and basement. Energy savings baseline used includes those areas.
Some related project activities are excluded from analysis.
The project also included general interior renovations; the costs of which are not shown here.
Some of the interior renovations may have contributed to energy savings -- for example, removing the chimney.
Some of the interior renovations probably would have been necessary to accomodate the heating plant change.
We went from single pipe steam raidators to ducted hot air heat. Radiators were removed generating floor work.
The ducting could have been done without renovation because of the unfinished attic and basement.
Some marginal carpentry related to new window installation may have been absorbed in general renovation.
Non-energy-related homeowner benefits of the project are not included in this analysis.
This analysis focuses on entirely on energy.benefits.
In comparing this project to other projects, many benefits of the project should be considered.
The Deep Energy Retrofit approach taken here has considerable durability and comfort benefits.
Additionally, investing in energy savings reduces exposure to risk of energy cost volatility.
Energy saving estimates are based on HERS modeling by Mike Duclos
http://deapenergygroup.web.officelive.com/MikeDuclos.aspx
Pre and post project energy use is based on modeling.
Actual experience since occupying units in August 2010 has been consistent with or slightly better than the modeling.
There is no pre-project record of utility use.
Cost allocations based on allocation by the project's general contractor, Paul Eldrenkamp
paul@byggmeister.com
http://byggmeister.com/
Range of estimates for SREC incentives provided by solar panel contractor, New England Breeze
http://www.newenglandbreeze.com/
National Grid's Deep Energy Retrofit Grant Program provide incentives and oversight for the construction project.
https://www.powerofaction.com/der/
Additional oversight for the construction project was provided by Building Sciences Corporation.
http://www.buildingscience.com/documents/case-studies/cold-climate-national-grid-deep-energy-retrofit-belmont/
Synery Construction was the envelope subcontractor.
http://synergy-green-builders.com/
Revision History:
March 15, fixed error in computation of savings from solar hot water to net out remaining consumption by back up hot water heaters.

## Cost-Benefit Analysis
Component-by-component cost-benefit analysis of Deep Energy Retrofit project at 118-120 Gilbert Road, Belmont, MA (2010) | Costs and Energy Benefits |  |  |  |  | Benefit-cost without incentives |  |  |  |  | Benefit-cost with incentives |  |  |  | Benefit-cost including social benefits (excluding incentives)
| Cost | Useful Life | Millions of BTUs saved | Fuel Type | Units of fuel saved (therms or gallons or kwh) | Hard dollar annual savings (no inflation) | Years to pay-back (no interest or inflation) | NPV of savings (with inflation) | Benefit Cost Ratio | NPV (savings less cost) before incentives (with price inflation for energy) | State tax incentives (1) | Federal tax incentives (2) | SRECs (NPV), Grants or Rebates (3) | NPV after all incentives | Soft dollar (social external costs saved) annual | NPV of soft dollar benefit cash flow (no inflation) | Hard+soft dollar NPV excluding incentives
Renewables
Solar DHW with Backup (exclude cost and load of backup) | 11000 | 30 | 28.5 | Gas | 285 | 489.402 | 22.4764 | 12244.7411 | 1.1132 | 1244.7411 |  | 3300 |  | 4544.7411 | 147.1883 | 2469.6742 | 3714.4152
Solar PV | 37810 | 30 | 19.3 | Electric | 5656.0091 | 802.5311 | 47.1134 | 20079.1701 | 0.53105 | -17730.8299 | 1000 | 11343 | 14499.088 | 9111.2581 | 481.9937 | 8087.3805 | -9643.4495
Envelope
Code insulation: Cellulose in walls and ceilings, foam in basement (4) | 24417.4 | 75 | 269.5267 | Gas | 2695.2667 | 4628.3119 | 5.2757 | 227047.6799 | 9.2986 | 202630.2799 |  | 1500 |  | 204130.2799 | 1391.9705 | 31308.349 | 233938.6289
Additional insulation (4) | 75392 | 75 | 47.4733 | Gas | 474.7333 | 815.2121 | 92.4815 | 39991.257 | 0.53044 | -35400.743 |  |  | 57000 | 21599.257 | 245.176 | 5514.5255 | -29886.2175
Windows with associated CFM reductions | 46263.2388 | 30 | 41 | Gas | 410 | 704.052 | 65.71 | 17615.2415 | 0.38076 | -28647.9972 |  |  |  | -28647.9972 | 211.7445 | 3552.8646 | -25095.1326
Residing and reroofing | 37595.2854
Total Envelope project including residing/reroofing | 183667.9242 | mixed | 358 | Gas | 3580 | 6147.576 | 29.8765 | 284654.1784 | 1.5498 | 100986.2543 |  | 1500 | 57000 | 159486.2543 | 1848.891 | 40375.7392 | 141361.9934
Heating plant change
Efficiency upgrade at reduced load |  | 30 | 12 | Oil | 86.5177 | 313.0209 | 0 | 7831.7211 | [6 empty] | 150.3885
Fuel switch (savings on whole amount of final heating load) |  | 30 | 41.7 | Spread | per BTU | 371.6753 | 0 | 9299.2413 | [6 empty] | 307.2404
Total heating plant change (at reduced load) | 25690 | 30 | 12 | Combined | Combined | 684.6962 | 37.5203 | 17130.9624 | 0.66683 | -8559.0376 |  |  | 675 | -7884.0376 | 457.6289 | 7678.5638 | -880.4738
Environmental Project Total | 258167.9242 | mixed | 417.8 |  | mixed | 8124.2053 | 31.7776 | 334109.052 | 1.2942 | 75941.1278 | 1000 | 16143 | 72174.088 | 165258.2159 | 2935.7019 | 58611.3576 | 134552.4854
(1) Maximum $1000 Massachusetts State Income Tax PV Credit
(2) 30% federal income tax credit; not capped for solar PV or solar hot water, $5000 cap for insulation measures
(3) Solar Renewable Energy Credit Sales range from 30 to 60 cents per kilowatt hour and for small sellers
typically are sold at a 20% discount; here we have assumed the market is |  | 0.4 | per kwh
We have also only assumed a 10 year market for SREC's
This column also includes utility company grants and rebates
(4) Cost and energy change of ERV allocated to code insulation. See HERS analysis page for allocation of CFM reductions.

## Assumptions
This page summarizes assumptions and conversion factors in the analysis.
The assumptions in this spreadsheet as released lean on the high side for costs/prices and on the low side for a discount rate.
In other words, they are adopted to be reasonably favorable to the benefit-cost ratios of the project components.
Highlighted cells include the variables to which the analysis is most sensitive and should be varied for perspective.
Discount Rate (1) | 4.25%
Social cost of Carbon per ton (2) | 350
| Electricity | Gas | Oil
Units | kwh | therms | gallons
Energy Costs
Market Prices
Per Unit Actual, 3/1/2011 (3) | 0.14189 | 1.7172 | 3.618
Per Unit Assumed in analysis | 0.14189 | 1.7172 | 3.618
Per kwh | 0.14189 | 0.058596 | 0.08901
Price Inflation (4) | 3% | 3% | 3%
Social Cost of Carbon Dioxide (climate change costs)
Metric Tons of C per Unit (5) | 0.00015777 | 0.001447 | 0.0027644
Social Cost of Carbon per Unit | 0.055218 | 0.50645 | 0.96753
% increase by adding SCC | 38.92% | 29.49% | 26.74%
Non-climate costs of fuel burning
National defense (6) | 0 | 0 | 0.27071
Health and environmental (7) | 0.03 | 0.01 | 0.5
Conversion Factsrs
BTU/Unit | 3412.3 | 100000 | 138700
kwh/Unit | 1 | 29.3057 | 40.6471
$ per MMBTU (price dependent) | 41.5819 | 17.172 | 26.0851
Notes:
(1) Mortgage interest rate for permanent financing for project was 4.25%.
(2) For social cost of carbon estimate, see review in IPCC 4 report: at section 20.6.1: http://www.ipcc.ch/publications_and_data/ar4/wg2/en/ch20s20-6-1.html
$350 is the 95th percentile from one study of varying estimates reviewed there. Estimates range across three orders of magnitude from $1 to $1500/ton.
To be clear, that percentile reflects just the range of estimates using differing methodologies, not a probability of occurrence.
Limiting estimates to peer reviewed studies reviewed in 2005, the mean was $43 and the standard deviation was $83.
Compare National Academy of Sciences http://www.nap.edu/openbook.php?record_id=12794&page=17 (and following pages)
Quoting range from $1 to 100 per ton of CO2 and and using $30/ton for illustration only, noting huge uncertainty
Note: The units differ. IPCC is using tons C; NAS using tons CO2. $100/ton CO2 same as $367/ton C.
(3) Actual Current Prices per unit:
Gas charge components are gas delivery at rate for more than 10 therms, plus distribution adjustment plus supply charge as on 2/5/2011 NGrid bill
Electric charge components are distribution, generation, transmission, NYPA, Purchased adj as of 1/27/2011 BMLD bill
Heating oil price from eia as of 2/21http://www.eia.doe.gov/oog/info/twip/twip.asp
(4) Energy inflation projections over the life of this investment are highly uncertain.
Energy markets, currency markets and general price inflation all play a role. 3% is more favorable than zero for the analysis, but is not wildly off.
Natural gas prices rose 6% per year from 1987 to 2008, but dropped by a third from 2008 to 2010.
http://www.eia.gov/dnav/ng/hist/n3050us3a.htm
Electricity prices are dependent on energy markets but also on other cost components and on regulation.
Nationwide, energy prices have drifted upward by 2.7% annually over the past 14 years.
http://www.eia.gov/cneaf/electricity/epm/table5_3.html
Oil prices are the most volatile of the three , but also not to central to the analysis.
http://www.eia.gov/dnav/pet/hist/LeafHandler.ashx?n=PET&s=WTOTWORLD&f=W
General price inflation as reflected in the BEA's implicit price deflator ran at 2.4% from 2000 through 2010.
See http://www.bea.gov/faq/index.cfm?faq_id=513
(5) Carbon per unit burned/consumed
For gas/oil Tons/Carbon Unit, see http://www.epa.gov/climatechange/emissions/downloads/2008_GHG_Fast_Facts.pdf
For MA MtC/kwh, see http://www.eia.doe.gov/oiaf/1605/pdf/EFactors1998-2000.pdf (a little out of date; probably high)
(6) For military cost of oil access: see, page 74 of Rand Study, Imported Oil and U.S. National Security
83000000000 | higher of two estimates of annual marginal military cost of persian gulf oil defense
For a denominator, use total U.S. oil consumption, 18.8 million barrels per day from
Round this up to reflect expansion in the refining process, etc. |  |  | 20000000
| Gallons/Barrel |  | 42
Yields this estimate of security costs per barrell of heating oil |  |  | 0.27071
Only about 10% of natural gas exports in the world market are from the middle east; ignore security costs associated with gas and electricity.
See http://www.eia.gov/naturalgas/data.cfm#imports for data about experts in the world markets
Compare National Academy of Sciences arguing military cost basically fixed, not a factor to weight in energy costs.
http://www.nap.edu/openbook.php?record_id=12794&page=20
(7) As to other externalities -- extraction, health costs, see Hidden Costs of Energy, study National Academy of Sciences
For electricity, generation accounts for bulk of hidden costs and highly dependeng on fuel sources and control technologies
See http://www.nap.edu/openbook.php?record_id=12794&page=6
current weighted average cost of coal damages |  | 0.032 | per kwh
but this is expected to decline by 2030 |  | 0.017 | per kwh
natural gas -- expected to further decline |  | 0.0016 | per kwh
Damages associated with natural gas for heat |  | 0.11 | per THOUSAND cubic feet
To pick a number for Massachusetts electricity damages, need to consider fuel blend (and technologies, but ignoring that):
Electric power generation in MA 23% coal and 26% oil (likely too high and dated estimate).
http://apps1.eere.energy.gov/states/electricity.cfm/state=MA#fuel
If half of power is gas and other damage sources (no estimate of nuclear damage), then high side to
use estimate of: | 0.03 | per kwh for damage costs
Regarding oil heat non-GHG damages, no estimate, but can guesstimate from diesel?
http://www.nap.edu/openbook.php?record_id=12794&page=178
Suggests high side ballpark per gallon estimate of |  | 0.5

## HERS Analyhsis in Full
118 & 120 Gilbert Scenarios - 11/1/2010 | HERS | Heat | Cool | Heat | Cool | DHW | Heat | Cool | DHW | L&A | PV | Total | Total | Total
DesLd = Design Load, Peak energy demand in KBTU/Hr |  | DesLd | DesLd | AnnLd | AnnLd | AnnLd | AnnCs | AnnCs | AnnCs | AnnCs | AnnCs | AnnCs | Cond. | AnnCs
AnnLd = Annual Load, Annual useful energy demand, MMBTU/Yr (millions of BTUs) |  | Total Cond.: Space; Total AnnCs: Checksum
AnnCs - Annual Consumption, Annual Site Energy use in MMBTU/Yr | bar: Heat DesLd to Total AnnCs
DHW = Domestic Hot Water Annual site energy in MMBTU/Yr
S0 - Baseline - Blower Door = 5700 CFM @ 50 Pa | 197 | 99.8 | 0 | 198.5 | 0 | 13.8 | 276.6 | 0 | 27.9 | 34.9 | 0 | 339.5 | 2728 | 339.4
S1 - Thermal boundary includes attic, no insulation, change to 5 bedrooms | 181 | 128.5 | 0 | 254 | 0 | 15.8 | 353.9 | 0 | 31.9 | 47.7 | 0 | 433.5 | 4092 | 433.5
S2 - No basement insulation but include basement in thermal boundary | 166 | 153.6 | 0 | 298 | 0 | 15.8 | 415.3 | 0 | 31.9 | 60.6 | 0 | 507.8 | 5478 | 507.8
S3 - Two Renewaire EV130 Energy Recovery Ventilators at 100 CFM | 170 | 155.3 | 0 | 302 | 0 | 15.8 | 420.9 | 0 | 31.9 | 67.8 | 0 | 520.6 | 5478 | 520.6
S4 - DP CE Above Grade Walls | 148 | 129.8 | 0 | 246.7 | 0 | 15.8 | 343.8 | 0 | 31.9 | 67.8 | 0 | 443.6 | 5478 | 443.5
S5 - Add 4" Polyisocyanruate rigid foam on AGWalls | 140 | 121.3 | 0 | 228.4 | 0 | 15.8 | 318.4 | 0 | 31.9 | 67.8 | 0 | 418.1 | 5478 | 418.1
S6 - Blower Door to 4500 CFM at 50 Pa | 135 | 115 | 0 | 213.8 | 0 | 15.8 | 298 | 0 | 31.9 | 67.8 | 0 | 397.8 | 5478 | 397.7
S7 - Insulated Rafters with R26 Dense Pack Cellulose | 107 | 84.7 | 0 | 150.5 | 0 | 15.8 | 209.8 | 0 | 31.9 | 67.8 | 0 | 309.6 | 5478 | 309.5
S8 - Add 6" Polyisocyanruate rigid foam on top of roof sheating | 105 | 82.1 | 0 | 145.1 | 0 | 15.8 | 202.3 | 0 | 31.9 | 67.8 | 0 | 302.1 | 5478 | 302
S9 - Blower Door to 3000 CFM at 50 Pa | 98 | 74.2 | 0 | 126.9 | 0 | 15.8 | 177 | 0 | 31.9 | 67.8 | 0 | 276.8 | 5478 | 276.7
S10 - Insulate Foundation Walls to R12 with closed cell spray foam | 83 | 55 | 0 | 85.8 | 0 | 15.8 | 119.7 | 0 | 31.9 | 67.8 | 0 | 219.5 | 5478 | 219.4
S11 - Insulate Foundation Walls to R40 average with mineral wool | 81 | 52.4 | 0 | 80.2 | 0 | 15.8 | 111.9 | 0 | 31.9 | 67.8 | 0 | 211.7 | 5478 | 211.6
S12 - Blower Door to 1700 CFM at 50 Pa | 76 | 45.6 | 0 | 65.2 | 0 | 15.8 | 91 | 0 | 31.9 | 67.8 | 0 | 190.8 | 5478 | 190.7
S13 - Window upgrade to triple glazed & Door Upgrade | 65 | 35.4 | 0 | 48.5 | 0 | 15.8 | 67.8 | 0 | 31.9 | 67.8 | 0 | 167.5 | 5478 | 167.5
S14 - Blower Door to 590 CFM at 50 Pa | 61 | 29.6 | 0 | 35.8 | 0 | 15.8 | 50.1 | 0 | 31.9 | 67.8 | 0 | 149.8 | 5478 | 149.8
S15 - Changed oil boiler to natural gas | 52 | 29.6 | 0 | 35.8 | 0 | 0 | 38.1 | 0 | 0 | 67.8 | 0 | 106 | 5478 | 105.9
S16- Added air conditioning | 52 | 29.6 | 20.6 | 35.8 | 17.6 | 0 | 38.1 | 4.6 | 0 | 67.8 | 0 | 110.6 | 5478 | 110.5
S17 - Solar Thermal | 47 | 29.6 | 20.6 | 35.8 | 17.6 | 0 | 38.1 | 4.6 | 0 | 67.8 | 0 | 110.6 | 5478 | 110.5
S18 - Two 40 gal 0.90 EF electric DHW heaters added | 46 | 29.6 | 20.6 | 35.8 | 17.6 | 3.4 | 38.1 | 4.6 | 3.4 | 67.8 | 0 | 114 | 5478 | 113.9
S19 - Fridge estimate was 1500 KWHR/Yr, actual was 1541 KWHR/Yr | 46 | 29.6 | 20.6 | 35.8 | 17.6 | 3.4 | 38.1 | 4.6 | 3.4 | 68 | 0 | 114.1 | 5478 | 114.1
S20 - Dishwasher estimated EF = 0.46 changed to average of both = 0.82 | 46 | 29.6 | 20.6 | 35.8 | 17.6 | 3 | 38.2 | 4.6 | 3.1 | 67.7 | 0 | 113.5 | 5478 | 113.6
S21 - CFLs were 0%, changed to 95.0% | 42 | 29.6 | 19.6 | 39.3 | 15 | 3 | 41.7 | 4 | 3 | 57.5 | 0 | 106.2 | 5478 | 106.2
S22 - 21 Sanyo HIT-A 220 @ 204.4 CEC PTC each, Solectra PVI 5000 @ 96% | 32 | 29.6 | 19.6 | 39.3 | 15 | 3 | 41.7 | 4 | 3.1 | 57.5 | -19.3 | 87 | 5478 | 87
HERS analysis from Mike Duclos; recolored to correlated with cost and cost-benefit analysis
Note: Based on estimates from contractor Paul Eldrenkamp, project general contractor, we further allocated the CFM between the S4 and S5 steps.
This allocation is reflected in the cost-benefit analysis energy savings estimates of the code (green) and additional (yellow) insulation steps.
| Insulation Step CFM | Cool DesLd: MMBtu; Heat AnnLd: Allocation of MMBtu
| Code | Heat DesLd: Additional; Cool DesLd: Combined; Heat AnnLd: Code; Cool AnnLd: Additional
Walls | 1000 | Heat DesLd: 200; Cool DesLd: 20.4; Heat AnnLd: 17; Cool AnnLd: 3.4
Roof | 1300 | Heat DesLd: 200; Cool DesLd: 25.3; Heat AnnLd: 21.9267; Cool AnnLd: 3.3733
Basement | 1300 | Heat DesLd: 0; Cool DesLd: 20.9; Heat AnnLd: 20.9; Cool AnnLd: 0
Total across insulation steps. | 3600 | Heat DesLd: 400; Cool DesLd: 66.6; Heat AnnLd: 59.8267; Cool AnnLd: 6.7733
Note on A7: Author: Changing the Thermal Boundary to include the Attic changes the conditioned floor area from 2728 to 4092

## Cost Inputs
This page shows contractor Paul Eldrenkamp's allocations of final project costs.(excluding solar PV, general remodeling and maintenance costs)
The gray shaded areas include comparisons to National Grid grant application and to original project budget.
|  |  | Eldrenkamp Allocations |  |  |  |  | Reconciliation of Eldrenkamp allocation to Budget and to National Grid Application
| Cost | mod | general remodeling | required maintenance | cost to meet code | cost to exceed code | Total Allocation | NGrid Application | Allocation vs. Ngrid App | Original Fixed Budget | Notes
S3 - Two Renewaire EV130 Energy Recovery Ventilators at 100 CFM | 5002.125 |  |  |  |  | 6978.4 | 6978.4 | 7084 | -105.6
S4 - DP CE Above Grade Walls | 4720 |  |  |  | 6274 | 0 | 6274 | 4720 | 1554 | 4720
S5 - Add 4" Polyisocyanurate rigid foam on AGWalls; new exterior claps | 35625 |  |  | 26198.36 |  | 47353 | 73551.36 | 54802 | 18749.36 | 54423 | (1)
S7 - Insulated Rafters with R26 Dense Pack Cellulose | 3800 |  |  |  | 5051 | 0 | 5051 | 3809 | 1242 | 3800
S8 - Add 6" Polyisocyanruate rigid foam on top of roof sheating | 19394 |  |  | 11396.9254 |  | 25779 | 37175.9254 | 37183 | -7.0746 | 32681 | (2)
S10 - Insulate Foundation Walls to R12 with closed cell spray foam | 4600 |  |  |  | 6114 | 0 | 6114 |  |  | 4600
S11 - Insulate Foundation Walls to R40 average with mineral wool | 1700 |  |  |  |  | 2260 | 2260 | 9051 | -677 |  | (3)
S13 - Window upgrade to triple glazed & Door Upgrade | 5285 |  |  | 37184.2388 |  | 9079 | 46263.2388 | 40305 | 5958.2388 | 46494 | (4)
S15 - Changed oil boiler to natural gas | 17400 |  |  | 25690 |  |  | 25690 | 15995 | 9695 |  | (5)
S17 - Solar Thermal | 6700 |  |  |  |  | 11000 | 11000 |  |  |  | (6)
Allocated costs exclude general management, but include other overhead. Original budget shown without overhead allocation.
Budget Reconiliation Notes
(1) Difference in wall foam allocation from NGRID appplication is primarily in the renovation cost (renovation is $14,375; DER allowable is $40,427)
Post grant approval made decision to improve seal by adding step of removing and replacing architechtural detail. Could allocate more of this to DER.
NGRID application includes $13,000 in other and air seal lines that could be allocated to this line to reduce discrepancy.
(2) Difference between final/Ngrid amounts and original includes going from 4 to 6" of foam.
(3) Original budget did not include the additional mineral wool step. National grid application combines lines differently.
(4) Doors were upgraded with change orders;
(5) Upgraded furnaces to two-stage
(6) WB adjusted this line to reflect fixed price without overhead
Note on K6: William Brownsberger: e

## Carbon Savings Alternatives
This page expands on the cost-benefit analysis of the additional insulation step.
(Line 8 in the Cost-Benefit analsysis)
Line 8 involves installation of 4" of polyisocyanurate foam paneling outside the walls; 6" on the roof.
Line 8 shows smaller saving because it follows line 7 -- there isn't so much heat loss left to stop if the foam
goes over cellulose cavity insulation.
Higher energy price inflation assumptions could quickly make this line positive economically, but
because of the reduced savings in this line, some questions are worth asking:
(1) Does it have net carbon benefits?
Yes, the carbon benefits appear to be unreduced by material carbon costs.
Apparently, there is no appreciable GHG impact of polyisocyanurate manufacturing.
Foam manufacturers say they uses zero GHG blowing agents
http://www.pima.org/contentpage/ContentPage.aspx?ModuleID=6&SubModuleID=46
EPA regulated?
Given the light weight of the product embodied energy should be low.
(2) If one were exclusively focused on carbon benefits, how does this investment compare to offsets?
Carbon offsets are much cheaper.
Upfront cost of additional insulation | 75392
Annual Therms of Gas Saved | 474.7333
Tons Carbon per Therm | 0.001447
Tons Carbon saved annually | 0.68694
Tons of CO2 saved annually | 2.5211
Cost of CO2 offsets/ton | 30 | (*)
Cost of offets with same savings | 75.632
PV of offset same cost | -1701.123
Ratio of hard NPV loss to offset PV | 20.8102 | (limited to the extra insulation component of the project).
(3) How would the Step 8 economics change if less additional insulation were applied?
A single layer of 1 or 2" foam might achieve most of the air sealing and possible warm cavity benefits of Step 8.
Ths might make the economics of this step less dependent on energy price inflation.
(*) Carbon offset price ranges can be seen at this link: http://www.ecobusinesslinks.com/carbon_offset_wind_credits_carbon_reduction.htm

## Industry Subsidies
NOTE ON INDUSTRIES LEVEL SUBSIDIES, NOT INCLUDED IN THIS ANALYSIS
Subsidies to specific kinds of fossil fuels.are hard to isolate.
However, it is fairly clear that loading them into the analysis would not materially improve the benefit cost-numbers for the project --
the subsidy to natural gas is well under $0.04 per therm and the subsidy to oil is well under $0.03 per gallon
The Environmental Law Institute recently produced a seven year estimate of subsidy to all fossil fuels (1):
Seven-year subsidy, all fossil fuels (2002-8) | 72473000000
Average annual fossil fuel subsidy | 10353285714.2857
The Energy Information Administration, using different definitions produced a much lower estimate for 1999 (2):
1999 total subsidy to fossil fuels. | 2169000000
To see a high side estimate for the potential impact of loading fossil-fuel subsidies into the analysis,
take the ELI estimate and allocate it all to natural gas. Using that denominator and total U.S.
consumption of natural gas as the denominator, yields the following:
2010 U.S. Natural Gas Consumption (mm cu ft.) (3) | 24133863
Very high side number for natural gas subsidy per 100cuft | 0.042899
Allocating all the subsidy to oil yields a similarly negligible per barrel subsidy.
Total U.S. consumption per year (gallons) (4) | 306600000000
Very high side number for per gallon oil subsidy | 0.033768
From a budget perspective, subsidies to renewables are lower than subsidies to fossil fuels per ELI, excluding ethanol, e.g.,
the annual subsidy during the 2002-08 subsidy period was:: | 1742857142.8571
But they are more generous if compared per unit. The following computes a low side estimate
of the subsidy per kilowatt for renewable generation which is higher than the high side
natural gas subsidy estimated above.
Renewable Electricity Production Credit (omit smaller categories; 7 yrs.) | 5224000000
Gigawatt hours from hydro, other renewables and other in 2008 (5) | 429617
Subsidy per kilowatt hour, combined renewables: | 0.0017371
Per therm equivalent (29 kwh): | 0.050907
For a higher estimate of per kwh subsidy, use the numbers from this project: for solar PV
Total all subsidies to solar PV component of project: | 26842.088
Undiscounted kwh over life of project: | 169680.2743
Subsidy per undiscounted kwh | 0.15819
Per therm equivalent (29 kwh): | 4.6359
(1) Environmental Law Institute, Estimating U.S. Government Subsidies to Energy Sources: 2002-2008
http://www.elistore.org/Data/products/d19_07.pdf | http://www.eli.org/pressdetail.cfm?ID=205
(2) http://www.eia.doe.gov/oiaf/servicerpt/subsidy/table_es1.html
(3) http://eia.gov/dnav/ng/ng_cons_sum_dcu_nus_a.htm
(4) http://eia.gov/dnav/pet/hist/LeafHandler.ashx?n=pet&s=wrpupus2&f=4
(5) http://eia.gov/cneaf/electricity/epm/table1_1.html