## identification
THIS IS A MODIFIED VERSION of ATTACHMENT DPU-COMM8-2 FROM DPU DOCKET 21-124
An assumption correction is made and additional computations are done.
| For the original, see this link: | https://fileservice.eea.comacloud.net/FileService.Api/file/FileRoom/14232166

## Assumptions
Value |  | Source | Reference Link(s)
Average Residential Electric Rate ($/kWh): | 0.27 | National Grid value, as published for winter 2021-2022 | https://www.nationalgridus.com/MA-Home/Rates/Service-Rates | https://www.nationalgridus.com/media/pdfs/billing-payments/electric-rates/ma/resitable.pdf
Average Income-Eligible Electric Rate ($/kWh): | 0.18 | National Grid value, as published for winter 2021-2022
Average C&I Electric Rate ($/kWh): | 0.243 | National Grid value for G1 rate, as published for winter 2021-2022 | https://www.nationalgridus.com/MA-Business/Rates/Service-Rates?regionkey=masselec&customertype=business | https://www.nationalgridus.com/media/pdfs/billing-payments/electric-rates/ma/commtable.pdf
Average Residential Gas Rate ($/MMBTU): | 17.6 | Average of National Grid & Eversource winter 20-21 rates, with supply portion inflated by 14% per EIA projections |  | https://www.eia.gov/outlooks/steo/special/winter/2021_winter_fuels.pdf
Average Income-Eligible Gas Rate ($/MMBTU): | 0.967 | Average of National Grid & Eversource winter 20-21 rates, with supply portion inflated by 14% per EIA projections
Average C&I Gas Rate ($/MMBTU): | 0.104 | Average of National Grid & Eversource winter 20-21 G1 rates, with supply portion inflated by 14% per EIA projections
Average Fuel Oil Price: | 3.39 | $/gallon Projected by EIA for winter 2021-2022 | https://www.eia.gov/outlooks/steo/special/winter/2021_winter_fuels.pdf
Average Propane Price: | 3.57 | $/gallon Projected by EIA for winter 2021-2022 | https://www.eia.gov/outlooks/steo/special/winter/2021_winter_fuels.pdf
Average Motor Gasoline Price: | 2.93 | $/gallon 10-Year Average from EIA data, 2011-2021
Fuel Oil MMTBU/Gallon | 0.138 | Industry standard conversion | https://www.eia.gov/energyexplained/units-and-calculators/
Propane MMTBU/Gallon | 0.09145 | Industry standard conversion | https://www.eia.gov/energyexplained/units-and-calculators/
Motor Gasoline MMTBU/Gallon | 0.1203 | Industry standard conversion | https://www.eia.gov/energyexplained/units-and-calculators/
Electric Emissions Rate in 2030 | 0.1065 | Metric Tons CO2e/MWh, as prescribed by EEA
Oil Emissions Rate | 0.07879 | DPUCom
Propane Emissions Rate | 0.06307 | Metric Tons CO2e/MMBTU, as prescribed by EEA
Natural Gas Emissions Rate | 0.05307 | Metric Tons CO2e/MMBTU, as prescribed by EEA
Motor Gasoline Emissions Rate | 0.070644 | Metric Tons CO2e/MMBTU, Industry Standard | https://www.eia.gov/environment/emissions/co2_vol_mass.php
Central HP Midstream Savings | 1533 | kWh savings from a baseline-efficiency to high-efficiency heat pump
DMSHP Midstream Savings | 584 | kWh savings from a baseline-efficiency to high-efficiency heat pump
The red value above was incorrectly included in the filed materials as $.117. It has been updated here to $17.6 based on DOER's home energy report!
The yellow values area also wrong, but have not been corrected.
Massachusetts Household Heating Costs, Massachusetts Division of Energy Resources,
The cost per therm should be on the order of $1 to $2.
The cost per MMBTU should be 10x that as therm is 100000 BTU.

## electric
From National Grid Electric 3_15
Sector | Program | Core Initiative | Sub Offering | eTRM Entry Code | eTRM Entry Name | End Use | Measure | BCR Measure ID | Quantity Definition | Quantity | Measure Life | Total Resource Cost | Incentive | Customer Cost | NTG_ID | NTG Description | Net to Gross | ISRR_ID | ISRR Description | In-Service Rate | kWh Realization Rate | kW Summer Realization Rate | kW Winter Realization Rate | Non Electric Realization Rate | Lifetime Adjustment Factor | Gross Annual kWh Saved | LS_ID | Load Shape Description | Summer Peak Energy % | Summer Off-Peak Energy % | Winter Peak Energy % | Winter Off-Peak Energy % | Maximum Load Reduction (kW) | Summer Coincident (%) | Winter Coincident (%) | ADR Scaling Factor (%) | Fossil Fuel Type #1 | Savings from Fuel Type #1 (MMBtu/Year) | Fossil Fuel Type #2 | Savings from Fuel Type #2 (MMBtu/Year) | Fossil Fuel Type #3 | Savings from Fuel Type #3 (MMBtu/Year) | Water Savings (Gallons/Year) | Non-Energy Avoided CO2e (Metric Tons) | NEI Lookup | NEI Description | Annual per Unit | One time per Unit | Annual per kWh | One time per KWh | Annual per Therm | One time per Therm | Benefit Cost Ratio | GHG Cost Basis | GHG 2025 | GHG 2030 | PI Toggle | Version Control (edits made since last model) | Savings check | Measure ID Check | NTG ID Check | ISRR ID Check | LS ID Check | Load shape check
A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Whole Initiative | RES-HVAC-FS-DMHP |  | HVAC | MSHP displacing Electric Heat | EA2c256 |  | 1800 | 18 | 8196 | 2000 | 6196 | NTG_10 | Res HVAC Electric | 88% | ISRR_01 | Default | 100% | 100% | 100% | 100% | 100% | 100% | 3339.5291 | ls_87_i | MSHP displacing Electric Resistance | -5.3% | -4.3% | 48.8% | 60.8% | 5.13 | -2% | 31% | 100% | Fuel Oil - Res Distillate | 7.5 |  | 0 |  | 0 | 0 | 0 | NEI_26 | Residential Retail Ductless Mini Split Heat Pump | 4.21 | 0 | 0 | 0 | 0 | 0 | 2.6329 | SCC | Yes | Yes | Yes |  | 0 | 0 | 0 | 0 | 0 | 0
[21 empty] | Savings as Gross Kwh * rates: |  |  | 0.27 | 901.6729

## Electrification, Electric
Program Administrator | Sector | Program | Core Initiative | Sub Offering | End Use | Measure | BCR Measure ID | Quantity Definition | Measure Life | Total Resource Cost | Incentive | Gross Annual kWh Used | Fossil Fuel Type #1 | Fossil Fuel #1 Savings (MMBtu/Year) | Fossil Fuel Type #2 | Fossil Fuel #2 Savings (MMBtu/Year) | Benefit-Cost Ratio | Customer Initial Purchase Cost (Negative Indicates a Cost) | Customer Operating Cost Savings (Negative Indicates an Increase) | Total Customer Lifetime Cost Impact (Positive Indicates a Savings) | GHG Savings in 2030 | Benefit-Cost Ratio with $128 SCC | Not cost-effective with $128 SCC | Customer Life Time Cost Impact without incentive | Life time GHG Savings as 2030 * Life | Cost per Ton GHG Savings
Statewide - Deemed | A - Residential | A1 - Residential New Buildings | A1a - Residential New Homes & Renovations | Electrification | HVAC | RNC Heating - All-Electric | EA1a018 | Homes | 25 | 0 | 0 | -5845 |  |  | Propane | 60.6 | 0 | 0 | 787.5362 | 19688.4042 | 3.1995 | 0
Statewide - Deemed | A - Residential | A1 - Residential New Buildings | A1a - Residential New Homes & Renovations | Electrification | Hot Water | RNC Water Heating - All-Electric | EA1a019 | Homes | 15 | 0 | 0 | -1467 |  |  | Propane | 13.5 | 0 | 0 | 130.9193 | 1963.7894 | 0.69521 | 0
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | MSHP Integrated Controls Retrofit Oil | EA2c270 | Homes | 10 | 2000 | 1500 | -1678.0182 | Fuel Oil - Res Distillate | 24.5984 |  |  | 4.7769 | -500 | 151.2008 | 1012.0079 | 1.7594 | 3.0559
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | MSHP Integrated Controls Retrofit, Propane | EA2c269 | Homes | 10 | 2000 | 1500 | -1678.0182 |  |  | Propane | 25.234 | 6.2787 | -500 | 532.0148 | 4820.1483 | 1.4128 | 4.8598
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Midstream - Central Heat Pump, No Integrated Controls | EA2c003 | Homes | 15 | 2098 | 100 | 1533 |  |  |  |  | 3.9161 | -1998 | 413.91 | 4210.65 | 0.16326 | 2.6816
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Midstream - MSHP, No Integrated Controls | EA2c004 | Homes | 18 | 353 | 100 | 584 |  |  |  |  | 10.5435 | -253 | 157.68 | 2585.24 | 0.062196 | 7.2044
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Central Heat Pump partially displacing Oil Heat | EA2c266 | Homes | 17 | 12724 | 4000 | -4562.6645 | Fuel Oil - Res Distillate | 49.6 |  |  | 2.3683 | -8724 | -13.4846 | -8953.239 | 3.4221 | 1.5912 |  | -12953.239 | 58.175 | -222.6598
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Central Heat Pump partially displacing Propane Heat | EA2c265 | Homes | 17 | 12724 | 4000 | -5210.4288 |  |  | Propane | 56 | 3.4194 | -8724 | 779.2968 | 4524.0464 | 2.977 | 2.7722
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Central Heat Pump fully displacing Oil Heat | EA2c272 | Homes | 17 | 16163 | 10000 | -10020.2267 | Fuel Oil - Res Distillate | 83.9129 |  |  | 2.5701 | -6163 | -644.1235 | -17113.0991 | 5.5443 | 1.7925 |  | -27113.0991 | 94.2538 | -287.6606
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Central Heat Pump fully displacing Propane Heat | EA2c271 | Homes | 17 | 16163 | 10000 | -10020.2267 |  |  | Propane | 83.9129 | 3.4826 | -6163 | 570.3061 | 3532.204 | 4.2252 | 2.964
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | MSHP partially displacing Oil Heat | EA2c268 | Homes | 18 | 11475 | 4000 | -4212.744 | Fuel Oil - Res Distillate | 44.9 |  |  | 2.4292 | -7475 | -34.4626 | -8095.3271 | 3.089 | 1.6202 |  | -12095.3271 | 55.6022 | -217.5331
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | MSHP partially displacing Propane Heat | EA2c267 | Homes | 18 | 11475 | 4000 | -4642.2465 |  |  | Propane | 48.7 | 3.3947 | -7475 | 647.7307 | 4184.1522 | 2.5771 | 2.7558
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | MSHP fully displacing Oil Heat | EA2c273 | Homes | 18 | 15984 | 10000 | -7730.428 | Fuel Oil - Res Distillate | 69.3251 |  |  | 2.3745 | -5984 | -384.2294 | -12900.129 | 4.6388 | 1.6241 |  | -22900.129 | 83.499 | -274.2563
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | MSHP fully displacing Propane Heat | EA2c274 | Homes | 18 | 15984 | 10000 | -7730.428 |  |  | Propane | 69.3251 | 3.1798 | -5984 | 619.0787 | 5159.4164 | 3.549 | 2.6585
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Air-to-Water Heat Pump displacing Oil Heat | EA2c290 | Homes | 17 | 18500 | 7500 | -7644.9 | Fuel Oil - Res Distillate | 91.3 |  |  | 3.1682 | -11000 | 178.6813 | -7962.4171 | 6.3793 | 2.1114 |  | -15462.4171 | 108.4489 | -142.5779
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Air-to-Water Heat Pump displacing Propane Heat | EA2c291 | Homes | 17 | 18500 | 7500 | -7644.9 |  |  | Propane | 91.3 | 4.0356 | -11000 | 1500.0213 | 14500.3628 | 4.9441 | 3.225
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Closed Loop GSHP replacing Oil Heat | EA2c292 | Homes | 30 | 32499 | 15000 | -5720.5 | Fuel Oil - Res Distillate | 82.4 |  |  | 3.238 | -17499 | 479.6389 | -3109.8326 | 5.8831 | 2.1748 |  | -18109.8326 | 176.4919 | -102.61
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Closed Loop GSHP replacing Propane Heat | EA2c293 | Homes | 30 | 32639 | 15000 | -5720.5 |  |  | Propane | 80.5 | 3.8632 | -17639 | 1598.0019 | 30301.0572 | 4.4679 | 3.0591
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Open Loop GSHP replacing Oil Heat | EA2c294 | Homes | 30 | 20057 | 15000 | -4843.5 | Fuel Oil - Res Distillate | 82.4 |  |  | 5.5897 | -5057 | 716.4289 | 16435.8674 | 5.9765 | 3.7217 |  | 1435.8674 | 179.2939 | 8.0085
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Open Loop GSHP replacing Propane Heat | EA2c295 | Homes | 30 | 20197 | 15000 | -4843.5 |  |  | Propane | 80.5 | 6.5838 | -5197 | 1834.7919 | 49846.7572 | 4.5613 | 5.14
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Moderate Income Qualified - MSHP Integrated Controls Retrofit Oil | EA2c317 | Homes | 10 | 2000 | 2000 | -1678.0182 | Fuel Oil - Res Distillate | 24.5984 |  |  |  | 0 | 151.2008 | 1512.0079 | 1.7594
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Moderate Income Qualified - MSHP Integrated Controls Retrofit, Propane | EA2c318 | Homes | 10 | 2000 | 2000 | -1678.0182 |  |  | Propane | 25.234 |  | 0 | 532.0148 | 5320.1483 | 1.4128
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Moderate Income Qualified - Central Heat Pump partially displacing Oil Heat | EA2c319 | Homes | 17 | 12388 | 16000 | -4562.6645 | Fuel Oil - Res Distillate | 46.9799 |  |  | 2.4326 | 3612 | -77.8477 | 2288.5887 | 3.2156 | 1.6344
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Moderate Income Qualified - Central Heat Pump partially displacing Propane Heat | EA2c320 | Homes | 17 | 12388 | 16000 | -5210.4288 |  |  | Propane | 53.7835 | 3.5121 | 3612 | 692.7689 | 15389.071 | 2.8372 | 2.8474
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Moderate Income Qualified - Central Heat Pump fully displacing Oil Heat | EA2c321 | Homes | 17 | 19180 | 16000 | -10020.2267 | Fuel Oil - Res Distillate | 83.9129 |  |  | 2.1658 | -3180 | -644.1235 | -14130.0991 | 5.5443 | 1.5105
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Moderate Income Qualified - Central Heat Pump fully displacing Propane Heat | EA2c322 | Homes | 17 | 19180 | 16000 | -10020.2267 |  |  | Propane | 83.9129 | 2.9348 | -3180 | 570.3061 | 6515.204 | 4.2252 | 2.4978
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Moderate Income Qualified - MSHP partially displacing Oil Heat | EA2c323 | Homes | 18 | 11746 | 16000 | -4212.744 | Fuel Oil - Res Distillate | 44.2603 |  |  | 2.3732 | 4254 | -50.1769 | 3350.8159 | 3.0386 | 1.5828
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Moderate Income Qualified - MSHP partially displacing Propane Heat | EA2c324 | Homes | 18 | 11746 | 16000 | -4642.2465 |  |  | Propane | 48.1094 | 3.3164 | 4254 | 624.6737 | 15498.1269 | 2.5399 | 2.6922
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Moderate Income Qualified - MSHP fully displacing Oil Heat | EA2c325 | Homes | 18 | 13015 | 16000 | -7730.428 | Fuel Oil - Res Distillate | 69.3251 |  |  | 2.9162 | 2985 | -384.2294 | -3931.129 | 4.6388 | 1.9945
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Moderate Income Qualified - MSHP fully displacing Propane Heat | EA2c326 | Homes | 18 | 13015 | 16000 | -7730.428 |  |  | Propane | 69.3251 | 3.9052 | 2985 | 619.0787 | 14128.4164 | 3.549 | 3.265
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Moderate Income Qualified - Air-to-Water Heat Pump displacing Oil Heat | EA2c327 | Homes | 17 | 18500 | 16000 | -7644.9 | Fuel Oil - Res Distillate | 91.3 |  |  |  | -2500 | 178.6813 | 537.5829 | 6.3793
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Moderate Income Qualified - Air-to-Water Heat Pump displacing Propane Heat | EA2c328 | Homes | 17 | 18500 | 16000 | -7644.9 |  |  | Propane | 91.3 |  | -2500 | 1500.0213 | 23000.3628 | 4.9441
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Moderate Income Qualified - Closed Loop GSHP replacing Oil Heat | EA2c329 | Homes | 30 | 38762 | 16000 | -5720.5 | Fuel Oil - Res Distillate | 86.69 |  |  |  | -22762 | 585.0237 | -5211.2891 | 6.2211
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Moderate Income Qualified - Closed Loop GSHP replacing Propane Heat | EA2c330 | Homes | 30 | 38762 | 16000 | -5720.5 |  |  | Propane | 75.92 |  | -22762 | 1419.2091 | 19814.2737 | 4.179
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Moderate Income Qualified - Open Loop GSHP replacing Oil Heat | EA2c331 | Homes | 30 | 26320 | 16000 | -4843.5 | Fuel Oil - Res Distillate | 86.69 |  |  |  | -10320 | 821.8137 | 14334.4109 | 6.3145
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Moderate Income Qualified - Open Loop GSHP replacing Propane Heat | EA2c332 | Homes | 30 | 26320 | 16000 | -4843.5 |  |  | Propane | 75.92 |  | -10320 | 1655.9991 | 39359.9737 | 4.2724
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | Hot Water | Heat Pump Water Heater displacing Oil | EA2c286 | Widgets | 13 | 64 | 1000 | -1130 | Fuel Oil - Res Distillate | 17.4 |  |  | 162.0239 | 936 | 122.3348 | 2526.3522 | 1.2506 | 102.6949 |  | 1526.3522 | 16.2578 | 93.8842
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | Hot Water | Heat Pump Water Heater displacing Propane | EA2c287 | Widgets | 13 | 855 | 200 | -831 |  |  | Propane | 16.4 | 13.4143 | -655 | 415.8487 | 4751.0331 | 0.94585 | 10.1598
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | Process | Induction Stove replacing Propane | EA2c352 | Widgets | 10 | 681 | 500 | -251 |  |  | Propane | 2.1 | 0 | -181 | 14.2092 | -38.9078 | 0.10572 | 0
Statewide - Deemed | B - Income Eligible | B1 - Income Eligible Existing Buildings | B1a - Income Eligible Coordinated Delivery | Electrification | HVAC | Central Heat Pump partially displacing Oil Heat (Single Family) | EB1a269 | Homes | 17 | 13000 | 13000 | -3328 | Fuel Oil - Res Distillate | 46.9799 |  |  | 2.3123 | 0 | 555.0317 | 9435.539 | 3.3471 | 1.4549
Statewide - Deemed | B - Income Eligible | B1 - Income Eligible Existing Buildings | B1a - Income Eligible Coordinated Delivery | Electrification | HVAC | Central Heat Pump partially displacing Propane Heat (Single Family) | EB1a268 | Homes | 17 | 13000 | 13000 | -3873 |  |  | Propane | 53.7835 | 3.3485 | 0 | 1402.4447 | 23841.5593 | 2.9796 | 2.5822
Statewide - Deemed | B - Income Eligible | B1 - Income Eligible Existing Buildings | B1a - Income Eligible Coordinated Delivery | Electrification | HVAC | Central Heat Pump fully displacing Oil Heat (Single Family) | EB1a273 | Homes | 17 | 30000 | 30000 | -8437 | Fuel Oil - Res Distillate | 83.9129 |  |  | 1.39 | 0 | 542.6777 | 9225.5213 | 5.713 | 0.87588 | Not cost-effective
Statewide - Deemed | B - Income Eligible | B1 - Income Eligible Existing Buildings | B1a - Income Eligible Coordinated Delivery | Electrification | HVAC | Central Heat Pump fully displacing Propane Heat (Single Family) | EB1a272 | Homes | 17 | 30000 | 30000 | -8437 |  |  | Propane | 83.9129 | 1.8816 | 0 | 1757.1073 | 29870.8243 | 4.3938 | 1.5071
Statewide - Deemed | B - Income Eligible | B1 - Income Eligible Existing Buildings | B1a - Income Eligible Coordinated Delivery | Electrification | HVAC | MSHP partially displacing Oil Heat (Single Family) | EB1a271 | Homes | 18 | 18000 | 18000 | -2784 | Fuel Oil - Res Distillate | 44.2603 |  |  | 1.7242 | 0 | 586.144 | 10550.5917 | 3.1908 | 1.0707
Statewide - Deemed | B - Income Eligible | B1 - Income Eligible Existing Buildings | B1a - Income Eligible Coordinated Delivery | Electrification | HVAC | MSHP partially displacing Propane Heat (Single Family) | EB1a270 | Homes | 18 | 18000 | 18000 | -3141 |  |  | Propane | 48.1094 | 2.3417 | 0 | 1312.7003 | 23628.6049 | 2.6997 | 1.7848
Statewide - Deemed | B - Income Eligible | B1 - Income Eligible Existing Buildings | B1a - Income Eligible Coordinated Delivery | Electrification | HVAC | MSHP fully displacing Oil Heat (Single Family) | EB1a286 | Homes | 18 | 35000 | 35000 | -5882 |  |  | Propane | 69.3251 |  | 0 | 1647.5342 | 29655.6163 | 3.7459
Statewide - Deemed | B - Income Eligible | B1 - Income Eligible Existing Buildings | B1a - Income Eligible Coordinated Delivery | Electrification | HVAC | MSHP fully displacing Propane Heat (Single Family) | EB1a287 | Homes | 18 | 35000 | 35000 | -5882 |  |  | Propane | 69.3251 |  | 0 | 1647.5342 | 29655.6163 | 3.7459
Statewide - Deemed | B - Income Eligible | B1 - Income Eligible Existing Buildings | B1a - Income Eligible Coordinated Delivery | Electrification | Hot Water | Heat Pump Water Heater displacing Oil (Single Family) | EB1a281 | Widgets | 13 | 0 | 0 | -1138 | Fuel Oil - Res Distillate | 17.4 |  |  | 1.6718 | 0 | 222.5948 | 2893.7322 | 1.2497 | 1.0208
Statewide - Deemed | B - Income Eligible | B1 - Income Eligible Existing Buildings | B1a - Income Eligible Coordinated Delivery | Electrification | Hot Water | Heat Pump Water Heater displacing Propane (Single Family) | EB1a282 | Widgets | 13 | 0 | 0 | -831 |  |  | Propane | 16.4 | 2.2102 | 0 | 490.6387 | 6378.3031 | 0.94585 | 1.6537
Statewide - Deemed | B - Income Eligible | B1 - Income Eligible Existing Buildings | B1a - Income Eligible Coordinated Delivery | Electrification | Hot Water | Heat Pump Water Heater displacing Oil (Multifamily) | EB1c284 | Widgets | 13 | 0 | 0 | 0 | Fuel Oil - Res Distillate | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
Statewide - Deemed | B - Income Eligible | B1 - Income Eligible Existing Buildings | B1a - Income Eligible Coordinated Delivery | Electrification | Hot Water | Heat Pump Water Heater displacing Propane (Multifamily) | EB1c285 | Widgets | 13 | 0 | 0 | 0 |  |  | Propane |  | 0 | 0 | 0 | 0 | 0 | 0
Statewide - Deemed | C - Commercial & Industrial | C2 - C&I Existing Buildings | C2b - C&I New & Replacement Equipment | Electrification | Process | Electric Forklift | EC2b125 | Widgets | 8 | 6000 | 6000 | -13886 |  |  | Propane | 137 | 6.7978 | 0 | 1973.8704 | 15790.9632 | 7.1617 | 5.5522
National Grid | A - Residential | A2 - Residential Existing Buildings | A2a - Residential Coordinated Delivery | Electrification | HVAC | Custom - Heat Pumps displacing Oil | EA2a276 | Projects | 15 |  |  |  | Fuel Oil - Res Distillate |  |  |  |  | 0 | 0 | 0 | 0
National Grid | A - Residential | A2 - Residential Existing Buildings | A2a - Residential Coordinated Delivery | Electrification | HVAC | Custom - Heat Pumps displacing Propane | EA2a277 | Projects | 15 | [5 empty] | Propane |  |  | 0 | 0 | 0 | 0
National Grid | B - Income Eligible | B1 - Income Eligible Existing Buildings | B1a - Income Eligible Coordinated Delivery | Electrification | HVAC | Custom - Heat Pumps displacing Oil (Multifamily) | EB1a275 | Projects | 15 |  |  |  | Fuel Oil - Res Distillate |  |  |  |  | 0 | 0 | 0 | 0
National Grid | B - Income Eligible | B1 - Income Eligible Existing Buildings | B1a - Income Eligible Coordinated Delivery | Electrification | HVAC | Custom - Heat Pumps displacing Propane (Multifamily) | EB1a276 | Projects | 15 | [5 empty] | Propane |  |  | 0 | 0 | 0 | 0
National Grid | C - Commercial & Industrial | C2 - C&I Existing Buildings | C2a - C&I Existing Building Retrofit | Electrification | HVAC | Custom - HVAC (Electrification) | EC2a115 | Projects | 15 | 67143 | 47000 | -9953 | Fuel Oil - Com Fuel Oil | 44.2 | Propane | 78.02 | 1.5456 | -20143 | 1712.927 | 5550.9043 | 7.3432 | 1.2545
National Grid | C - Commercial & Industrial | C2 - C&I Existing Buildings | C2a - C&I Existing Building Retrofit | Electrification | HVAC | Custom - Electrification Other | EC2a163 | Projects | 15 | 335715 | 235000 | -39812 | Fuel Oil - Com Fuel Oil | 177 | Propane | 312.07 | 1.2365 | -100715 | 6856.2305 | 2128.4573 | 29.3881 | 1.0036
National Grid | C - Commercial & Industrial | C2 - C&I Existing Buildings | C2b - C&I New & Replacement Equipment | Electrification | HVAC | Ducted Heat Pump displacing Oil Heating | EC2b104 | Projects | 17 | 23500 | 16450 | -7625.28 | Fuel Oil - Com Fuel Oil | 88.36 |  |  | 2.9644 | -7050 | 317.6396 | -1650.1273 | 6.1498 | 2.1944
National Grid | C - Commercial & Industrial | C2 - C&I Existing Buildings | C2b - C&I New & Replacement Equipment | Electrification | HVAC | Ductless Heat Pump displacing Oil Heating | EC2b105 | Projects | 17 | 23500 | 16450 | -7625.28 | Fuel Oil - Com Fuel Oil | 88.36 |  |  | 3.0162 | -7050 | 317.6396 | -1650.1273 | 6.1498 | 2.2462
National Grid | C - Commercial & Industrial | C2 - C&I Existing Buildings | C2b - C&I New & Replacement Equipment | Electrification | HVAC | Ducted Heat Pump displacing Propane Heating | EC2b106 | Projects | 17 | 23500 | 16450 | -12280.16 |  |  | Propane | 156.04 | 6.8524 | -7050 | 3107.3678 | 45775.2528 | 8.5336 | 5.7368
National Grid | C - Commercial & Industrial | C2 - C&I Existing Buildings | C2b - C&I New & Replacement Equipment | Electrification | HVAC | Ductless Heat Pump displacing Propane Heating | EC2b107 | Projects | 17 | 23500 | 16450 | -12280.16 |  |  | Propane | 156.04 | 6.9062 | -7050 | 3107.3678 | 45775.2528 | 8.5336 | 5.7906
National Grid | C - Commercial & Industrial | C2 - C&I Existing Buildings | C2b - C&I New & Replacement Equipment | Electrification | HVAC | Ducted Heat Pump replacing Oil Heating | EC2b115 | Projects | 17 | 0 | 0 | 0 | Fuel Oil - Com Fuel Oil | 0 |  |  |  | 0 | 0 | 0 | 0
National Grid | C - Commercial & Industrial | C2 - C&I Existing Buildings | C2b - C&I New & Replacement Equipment | Electrification | HVAC | Ductless Heat Pump replacing Oil Heating | EC2b116 | Projects | 17 | 0 | 0 | 0 | Fuel Oil - Com Fuel Oil | 0 |  |  |  | 0 | 0 | 0 | 0
National Grid | C - Commercial & Industrial | C2 - C&I Existing Buildings | C2b - C&I New & Replacement Equipment | Electrification | HVAC | Ducted Heat Pump replacing Propane Heating | EC2b117 | Projects | 17 | 0 | 0 | 0 |  |  | Propane | 0 |  | 0 | 0 | 0 | 0
National Grid | C - Commercial & Industrial | C2 - C&I Existing Buildings | C2b - C&I New & Replacement Equipment | Electrification | HVAC | Ductless Heat Pump replacing Propane Heating | EC2b118 | Projects | 17 | 0 | 0 | 0 |  |  | Propane | 0 |  | 0 | 0 | 0 | 0
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | Process | Electric Lawnmower | EA2c341 | Widgets | 7 | 101 | 75 | -218 | Motor Gasoline | 2.5 |  |  | 2.9443 | -26 | 2.0294 | -11.7939 | 0.15339 | 0
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | Process | Electric Leafblower | EA2c349 | Widgets | 8 | 0 | 30 | -28 | Motor Gasoline | 1.4 |  |  | 0 | 30 | 26.5381 | 242.3047 | 0.09592 | 0
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | Process | Electric Trimmer | EA2c350 | Widgets | 8 | 3 | 30 | -25 | Motor Gasoline | 1.4 |  |  | 168.416 | 27 | 27.3481 | 245.7847 | 0.096239 | 0
Statewide - Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | Process | Electric Chainsaw | EA2c351 | Widgets | 8 | 35 | 30 | -37 | Motor Gasoline | 1.4 |  |  | 13.3126 | -5 | 24.1081 | 187.8647 | 0.094961 | 0
Statewide - Deemed | C - Commercial & Industrial | C2 - C&I Existing Buildings | C2b - C&I New & Replacement Equipment | Electrification | Process | Electric Lawnmower | EC2b119 | Widgets | 7 | 4800 | 3500 | -9534 | Motor Gasoline | 108.4 |  |  | 2.6382 | -1300 | 323.4043 | 963.8298 | 6.6424 | 0.97327 | Not cost-effective
Statewide - Deemed | C - Commercial & Industrial | C2 - C&I Existing Buildings | C2b - C&I New & Replacement Equipment | Electrification | Process | Electric Leafblower | EC2b122 | Widgets | 2 | 114 | 100 | -276 | Motor Gasoline | 13.8 |  |  | 10.5528 | -14 | 269.0417 | 524.0835 | 0.94549 | 6.031
Statewide - Deemed | C - Commercial & Industrial | C2 - C&I Existing Buildings | C2b - C&I New & Replacement Equipment | Electrification | Process | Electric Trimmer | EC2b123 | Widgets | 2 | 118 | 100 | -246 | Motor Gasoline | 13.8 |  |  | 10.402 | -18 | 276.3317 | 534.6635 | 0.94869 | 5.9769
Statewide - Deemed | C - Commercial & Industrial | C2 - C&I Existing Buildings | C2b - C&I New & Replacement Equipment | Electrification | Process | Electric Chainsaw | EC2b124 | Widgets | 2 | 155 | 100 | -365 | Motor Gasoline | 13.8 |  |  | 7.2939 | -55 | 247.4147 | 439.8295 | 0.93601 | 4.0962

## Cost per ton summary
Oil | Central Heat Pump partially displacing Oil Heat | -222.6598
Oil | Central Heat Pump fully displacing Oil Heat | -287.6606
Oil | MSHP partially displacing Oil Heat | -217.5331
Oil | MSHP fully displacing Oil Heat | -274.2563
Oil | Air-to-Water Heat Pump displacing Oil Heat | -142.5779
Oil | Closed Loop GSHP replacing Oil Heat | -102.61
Oil | Open Loop GSHP replacing Oil Heat | 8.0085
Gas | Central Ducted Heat Pump Partially Displacing Existing Furnace, Gas | -574.6721
Gas | Central Ducted Heat Pump Fully Displacing Existing Furnace, Gas | -643.6628
Gas | DMSHP with Integrated Controls Partially Displacing Existing Boiler, Gas | -524.1311
Gas | DMSHP with Integrated Controls Fully Displacing Existing Boiler, Gas | -614.4369
Gas | Air-to-Water Heat Pump displacing Existing Boiler, Gas | -383.3879
Gas | Closed Loop GSHP Replacing Furnace, Gas | -379.0555
Gas | Open Loop GSHP Replacing Furnace, Gas | -183.5303

## oil formatted
Measure | BCR Measure ID | Quantity Definition | Measure Life | Total Resource Cost | Incentive | Gross Annual kWh Used | Fossil Fuel Type #1 | Fossil Fuel #1 Savings (MMBtu/Year) | Fossil Fuel Type #2 | Fossil Fuel #2 Savings (MMBtu/Year) | Benefit-Cost Ratio | Customer Initial Purchase Cost (Negative Indicates a Cost) | Customer Operating Cost Savings (Negative Indicates an Increase) | Total Customer Lifetime Cost Impact (Positive Indicates a Savings) | GHG Savings in 2030 | Benefit-Cost Ratio with $128 SCC
Central Heat Pump partially displacing Oil Heat | EA2c266 | Homes | 17 | 12724 | 4000 | -4562.6645 | Fuel Oil - Res Distillate | 49.6 |  |  | 2.3683 | -8724 | -13.4846 | -8953.239 | 3.4221 | 1.5912
Central Heat Pump fully displacing Oil Heat | EA2c272 | Homes | 17 | 16163 | 10000 | -10020.2267 | Fuel Oil - Res Distillate | 83.9129 |  |  | 2.5701 | -6163 | -644.1235 | -17113.0991 | 5.5443 | 1.7925
MSHP partially displacing Oil Heat | EA2c268 | Homes | 18 | 11475 | 4000 | -4212.744 | Fuel Oil - Res Distillate | 44.9 |  |  | 2.4292 | -7475 | -34.4626 | -8095.3271 | 3.089 | 1.6202
MSHP fully displacing Oil Heat | EA2c273 | Homes | 18 | 15984 | 10000 | -7730.428 | Fuel Oil - Res Distillate | 69.3251 |  |  | 2.3745 | -5984 | -384.2294 | -12900.129 | 4.6388 | 1.6241
Air-to-Water Heat Pump displacing Oil Heat | EA2c290 | Homes | 17 | 18500 | 7500 | -7644.9 | Fuel Oil - Res Distillate | 91.3 |  |  | 3.1682 | -11000 | 178.6813 | -7962.4171 | 6.3793 | 2.1114
Closed Loop GSHP replacing Oil Heat | EA2c292 | Homes | 30 | 32499 | 15000 | -5720.5 | Fuel Oil - Res Distillate | 82.4 |  |  | 3.238 | -17499 | 479.6389 | -3109.8326 | 5.8831 | 2.1748
Open Loop GSHP replacing Oil Heat | EA2c294 | Homes | 30 | 20057 | 15000 | -4843.5 | Fuel Oil - Res Distillate | 82.4 |  |  | 5.5897 | -5057 | 716.4289 | 16435.8674 | 5.9765 | 3.7217

## Oil cost
Measure | Customer Operating Cost Savings (Negative Indicates an Increase)
Central Heat Pump partially displacing Oil Heat | -13.4846
Central Heat Pump fully displacing Oil Heat | -644.1235
MSHP partially displacing Oil Heat | -34.4626
MSHP fully displacing Oil Heat | -384.2294
Air-to-Water Heat Pump displacing Oil Heat | 178.6813
Closed Loop GSHP replacing Oil Heat | 479.6389
Open Loop GSHP replacing Oil Heat | 716.4289

## Electrification, Gas
Program Administrator | Sector | Program | Core Initiative | Sub Offering | End Use | Measure | BCR Measure ID | Quantity Definition | Measure Life | Total Resource Cost | Incentive | Gross Annual kWh Saved | Fossil Fuel Type #1 | Savings from Fuel Type #1 (MMBtu/Year) | Benefit-Cost Ratio | Customer Initial Purchase Cost (Negative Indicates a Cost) | Customer Operating Cost Savings | Total Customer Lifetime Cost Impact (Positive Indicates a Savings) | GHG Savings in 2030 | Customer Initial Purchase Cost (Excluding Program Incentives) THIS COLUMN HAD WRONG SIGN IN ORIGINAL | Customer Operating Cost Savings | Total Customer Lifetime Cost Impact (Positive Indicates a Savings) | Benefit-Cost Ratio with $128 SCC | Not cost-effective with $128 SCC | Lifetime GHG Savings as measure life x 2030 savings | Cost per ton as life time impact/ghg
Statewide Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Midstream - Central Heat Pump, No Integrated Controls | EA2c003 | Homes | 15 | 2098 | 100 | 1533 |  |  | 4.85 | -1998 | 413.91 | 4210.65 | 0.16326 | -2098 | 413.91 | 4110.65 | 3.618 |  | 2.449 | 1678.5237
Statewide Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Midstream - MSHP, No Integrated Controls | EA2c004 | Homes | 18 | 353 | 100 | 584 |  |  | 13.07 | -253 | 157.68 | 2585.24 | 0.062196 | -353 | 157.68 | 2485.24 | 9.729 |  | 1.1195 | 2219.8998
Statewide Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | DMSHP Integrated Controls Retrofit, Gas | GA2c069 | Homes | 10 | 2000 | 2000 | -1678.0182 | NG - Res Heating | 24.6 | 1.9417 | 0 | -20.1049 | -201.0492 | 1.1268 | -2000 | -20.1049 | -2201.0492 | 0.93223 | Not cost-effective | 11.2681 | -195.334
Statewide Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Central Ducted Heat Pump Partially Displacing Existing Furnace, Gas | GA2c070 | Homes | 17 | 12724 | 4000 | -4562.6645 | NG - Res Heating | 46.98 | 0.78483 | -8724 | -405.0714 | -15610.2143 | 2.0073 | -12724 | -405.0714 | -19610.2143 | 0.39166 | Not cost-effective | 34.1242 | -574.6721
Statewide Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Central Ducted Heat Pump Fully Displacing Existing Furnace, Gas | GA2c071 | Homes | 17 | 16163 | 7500 | -10020.2267 | NG - Res Heating | 83.91 | 0.44009 | -8663 | -1228.6452 | -29549.9684 | 3.3859 | -16163 | -1228.6452 | -37049.9684 | 0.17306 | Not cost-effective | 57.5611 | -643.6628
Statewide Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | DMSHP with Integrated Controls Partially Displacing Existing Boiler, Gas | GA2c072 | Homes | 18 | 11475 | 4000 | -4212.744 | NG - Res Heating | 44.26 | 0.60545 | -7475 | -358.4649 | -13927.3678 | 1.9002 | -11475 | -358.4649 | -17927.3678 | 0.1992 | Not cost-effective | 34.204 | -524.1311
Statewide Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | DMSHP with Integrated Controls Fully Displacing Existing Boiler, Gas | GA2c073 | Homes | 18 | 15984 | 10000 | -7730 | NG - Res Heating | 69.33 | 0.40442 | -5984 | -866.892 | -21588.056 | 2.8561 | -15984 | -866.892 | -31588.056 | 0.10136 | Not cost-effective | 51.4098 | -614.4369
Statewide Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Air-to-Water Heat Pump displacing Existing Boiler, Gas | GA2c074 | Homes | 17 | 18500 | 7500 | -7644.9 | NG - Res Heating | 91.3 | 1.1241 | -11000 | -457.243 | -18773.131 | 4.0311 | -18500 | -457.243 | -26273.131 | 0.55473 | Not cost-effective | 68.5289 | -383.3879
Statewide Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Closed Loop GSHP Replacing Furnace, Gas | GA2c075 | Homes | 30 | 32639 | 10000 | -5720.5 | NG - Res Heating | 75.92 | 1.2282 | -22639 | -208.343 | -28889.29 | 3.4198 | -32639 | -208.343 | -38889.29 | 0.641 | Not cost-effective | 102.5952 | -379.0555
Statewide Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Open Loop GSHP Replacing Furnace, Gas | GA2c076 | Homes | 30 | 20197 | 10000 | -4843.5 | NG - Res Heating | 75.92 | 2.3425 | -10197 | 28.447 | -9343.59 | 3.5132 | -20197 | 28.447 | -19343.59 | 1.2493 |  | 105.3972 | -183.5303
Statewide Deemed | A - Residential | A2 - Residential Existing Buildings | A2c - Residential Retail | Electrification | HVAC | Heat Pump Water Heater displacing Existing Water Heater, Gas | GA2c077 | Homes | 13 | 457 | 200 | -831 | NG - Res Hot Water | 17.3 | 7.6483 | -257 | 80.11 | 784.43 | 0.82961 | -457 | 80.11 | 584.43 | 2.9274 |  | 10.7849 | 54.1895
National Grid | C - Commercial & Industrial | C2 - C&I Existing Buildings | C2a - C&I Existing Building Retrofit | Electrification | HVAC | Custom - HVAC (Electrification) | GC2a075 | Projects | 15 | 54334 | 40751 | -14598 | NG - C&I Heating | 175.08 | 1.2637 | -13583 | -465.906 | -20571.59 | 7.7368 | -54334 | -465.906 | -61322.59 | 0.95268 | Not cost-effective | 116.0521 | -528.4056
National Grid | C - Commercial & Industrial | C2 - C&I Existing Buildings | C2b - C&I New & Replacement Equipment | Electrification | HVAC | Ducted Heat Pump displacing Gas Heating | GC2b052 | Projects | 17 | 21733.7238 | 16300.2928 | -7299 | NG - C&I Heating | 87.5419 | 1.6717 | -5433.4309 | -232.9204 | -9393.0779 | 3.8685 | -21733.7238 | -232.9204 | -25693.3707 | 1.2311 |  | 65.7645 | -390.6873
National Grid | C - Commercial & Industrial | C2 - C&I Existing Buildings | C2b - C&I New & Replacement Equipment | Electrification | HVAC | Ductless Heat Pump displacing Gas Heating | GC2b053 | Projects | 17 |  |  |  | NG - C&I Heating |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
National Grid | C - Commercial & Industrial | C2 - C&I Existing Buildings | C2b - C&I New & Replacement Equipment | Electrification | HVAC | Ducted Heat Pump replacing Gas Heating | GC2b054 | Projects | 17 |  |  |  | NG - C&I Heating |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
National Grid | C - Commercial & Industrial | C2 - C&I Existing Buildings | C2b - C&I New & Replacement Equipment | Electrification | HVAC | Ductless Heat Pump replacing Gas Heating | GC2b055 | Projects | 17 |  |  |  | NG - C&I Heating |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
THIS COLUMN HAD WRONG SIGN IN ORIGINAL
-1

## BCR Extract
Fuel | Measure | 128 | 393 | 265 |  | 0 | 100 | 200 | 300 | 400 | 500 | 600 | 700 | 800 | 900 | 1000 | 1100 | 1200 | 1300 | 1400 | 1500
gas | Central Ducted Heat Pump Partially Displacing Existing Furnace, Gas | 0.39166 | 0.78483 | 0.39317 | 0.0014837 | 0.20175 | 0.35012 | 0.49848 | 0.64685 | 0.79522 | 0.94358 | 1.0919 | 1.2403 | 1.3887 | 1.5371 | 1.6854 | 1.8338 | 1.9822 | 2.1305 | 2.2789 | 2.4273
gas | Central Ducted Heat Pump Fully Displacing Existing Furnace, Gas | 0.17306 | 0.44009 | 0.26703 | 0.0010077 | 0.044081 | 0.14485 | 0.24561 | 0.34638 | 0.44715 | 0.54791 | 0.64868 | 0.74945 | 0.85021 | 0.95098 | 1.0517 | 1.1525 | 1.2533 | 1.354 | 1.4548 | 1.5556
gas | DMSHP with Integrated Controls Partially Displacing Existing Boiler, Gas | 0.1992 | 0.60545 | 0.40625 | 0.001533 | 0.0029725 | 0.15627 | 0.30958 | 0.46288 | 0.61618 | 0.76948 | 0.92278 | 1.0761 | 1.2294 | 1.3827 | 1.536 | 1.6893 | 1.8426 | 1.9959 | 2.1492 | 2.3025
gas | DMSHP with Integrated Controls Fully Displacing Existing Boiler, Gas | 0.10136 | 0.40442 | 0.30306 | 0.0011436 | -0.045022 | 0.069339 | 0.1837 | 0.29806 | 0.41242 | 0.52678 | 0.64114 | 0.7555 | 0.86987 | 0.98423 | 1.0986 | 1.2129 | 1.3273 | 1.4417 | 1.556 | 1.6704
gas | Air-to-Water Heat Pump displacing Existing Boiler, Gas | 0.55473 | 1.1241 | 0.56937 | 0.0021486 | 0.27971 | 0.49457 | 0.70943 | 0.92428 | 1.1391 | 1.354 | 1.5689 | 1.7837 | 1.9986 | 2.2134 | 2.4283 | 2.6431 | 2.858 | 3.0729 | 3.2877 | 3.5026
gas | Closed Loop GSHP Replacing Furnace, Gas | 0.641 | 1.2282 | 0.58716 | 0.0022157 | 0.35739 | 0.57896 | 0.80053 | 1.0221 | 1.2437 | 1.4652 | 1.6868 | 1.9084 | 2.1299 | 2.3515 | 2.5731 | 2.7946 | 3.0162 | 3.2378 | 3.4594 | 3.6809
gas | Open Loop GSHP Replacing Furnace, Gas | 1.2493 | 2.3425 | 1.0932 | 0.0041253 | 0.72127 | 1.1338 | 1.5463 | 1.9588 | 2.3714 | 2.7839 | 3.1964 | 3.6089 | 4.0215 | 4.434 | 4.8465 | 5.2591 | 5.6716 | 6.0841 | 6.4966 | 6.9092
oil | Central Heat Pump partially displacing Oil Heat | 1.5912 | 2.3683 | 0.77714 | 0.0029326 | 1.2158 | 1.5091 | 1.8024 | 2.0956 | 2.3889 | 2.6821 | 2.9754 | 3.2687 | 3.5619 | 3.8552 | 4.1484 | 4.4417 | 4.7349 | 5.0282 | 5.3215 | 5.6147
oil | Central Heat Pump fully displacing Oil Heat | 1.7925 | 2.5701 | 0.77759 | 0.0029343 | 1.4169 | 1.7103 | 2.0037 | 2.2972 | 2.5906 | 2.884 | 3.1775 | 3.4709 | 3.7643 | 4.0578 | 4.3512 | 4.6446 | 4.9381 | 5.2315 | 5.5249 | 5.8183
oil | MSHP partially displacing Oil Heat | 1.6202 | 2.4292 | 0.80906 | 0.0030531 | 1.2294 | 1.5347 | 1.84 | 2.1453 | 2.4506 | 2.7559 | 3.0612 | 3.3665 | 3.6718 | 3.9771 | 4.2825 | 4.5878 | 4.8931 | 5.1984 | 5.5037 | 5.809
oil | MSHP fully displacing Oil Heat | 1.6241 | 2.3745 | 0.75048 | 0.002832 | 1.2616 | 1.5448 | 1.828 | 2.1112 | 2.3944 | 2.6776 | 2.9608 | 3.2439 | 3.5271 | 3.8103 | 4.0935 | 4.3767 | 4.6599 | 4.9431 | 5.2263 | 5.5095
oil | Air-to-Water Heat Pump displacing Oil Heat | 2.1114 | 3.1682 | 1.0568 | 0.0039879 | 1.6009 | 1.9997 | 2.3985 | 2.7973 | 3.1961 | 3.5949 | 3.9937 | 4.3925 | 4.7912 | 5.19 | 5.5888 | 5.9876 | 6.3864 | 6.7852 | 7.184 | 7.5828
oil | Closed Loop GSHP replacing Oil Heat | 2.1748 | 3.238 | 1.0632 | 0.0040119 | 1.6613 | 2.0625 | 2.4637 | 2.8649 | 3.2661 | 3.6673 | 4.0685 | 4.4697 | 4.8708 | 5.272 | 5.6732 | 6.0744 | 6.4756 | 6.8768 | 7.278 | 7.6792
oil | Open Loop GSHP replacing Oil Heat | 3.7217 | 5.5897 | 1.868 | 0.0070491 | 2.8194 | 3.5243 | 4.2292 | 4.9341 | 5.639 | 6.3439 | 7.0488 | 7.7537 | 8.4586 | 9.1635 | 9.8684 | 10.5734 | 11.2783 | 11.9832 | 12.6881 | 13.393

## Sheet2
7615 | New Cosntruc
7717 |  | 563001
31953
7364
1580
3598
1418
53630
765
1039 | 1804
1804 | 0.032543
55434 | Conversions
63049

## Gas Formatted
Measure | Measure Life | Total Resource Cost | Incentive | Gross Annual kWh Saved | Savings from Fuel Type #1 (MMBtu/Year) | Benefit-Cost Ratio | Customer Initial Purchase Cost (Negative Indicates a Cost) | Customer Operating Cost Savings | Total Customer Lifetime Cost Impact (Positive Indicates a Savings) | GHG Savings in 2030 | Customer Initial Purchase Cost (Excluding Program Incentives) | Customer Operating Cost Savings | Total Customer Lifetime Cost Impact (Positive Indicates a Savings) | Benefit-Cost Ratio with $128 SCC | Not cost-effective with $128 SCC
Central Ducted Heat Pump Partially Displacing Existing Furnace, Gas | 17 | 12724 | 4000 | -4562.6645 | 46.98 | 0.78483 | -8724 | -1226.4228 | -29573.1871 | 2.0073 | 12724 | -1226.4228 | -8125.1871 | 0.39166 | Not cost-effective
Central Ducted Heat Pump Fully Displacing Existing Furnace, Gas | 17 | 16163 | 7500 | -10020.2267 | 83.91 | 0.44009 | -8663 | -2695.6437 | -54488.9434 | 3.3859 | 16163 | -2695.6437 | -29662.9434 | 0.17306 | Not cost-effective
DMSHP with Integrated Controls Partially Displacing Existing Boiler, Gas | 18 | 11475 | 4000 | -4212.744 | 44.26 | 0.60545 | -7475 | -1132.2625 | -27855.7242 | 1.9002 | 11475 | -1132.2625 | -8905.7242 | 0.1992 | Not cost-effective
DMSHP with Integrated Controls Fully Displacing Existing Boiler, Gas | 18 | 15984 | 10000 | -7730 | 69.33 | 0.40442 | -5984 | -2078.9884 | -43405.791 | 2.8561 | 15984 | -2078.9884 | -21437.791 | 0.10136 | Not cost-effective
Air-to-Water Heat Pump displacing Existing Boiler, Gas | 17 | 18500 | 7500 | -7644.9 | 91.3 | 1.1241 | -11000 | -2053.4409 | -45908.4953 | 4.0311 | 18500 | -2053.4409 | -16408.4953 | 0.55473 | Not cost-effective
Closed Loop GSHP Replacing Furnace, Gas | 30 | 32639 | 10000 | -5720.5 | 75.92 | 1.2282 | -22639 | -1535.6524 | -68708.5708 | 3.4198 | 32639 | -1535.6524 | -13430.5708 | 0.641 | Not cost-effective
Open Loop GSHP Replacing Furnace, Gas | 30 | 20197 | 10000 | -4843.5 | 75.92 | 2.3425 | -10197 | -1298.8624 | -49162.8708 | 3.5132 | 20197 | -1298.8624 | -18768.8708 | 1.2493
Central Ducted Heat Pump Partially Displacing Existing Furnace, Gas | 17 | 12724 | 4000 | -4562.6645 | 46.98 | 0.78483 | -8724 | -405.0714 | -15610.2143 | 2.0073 | 12724 | -405.0714
Central Ducted Heat Pump Fully Displacing Existing Furnace, Gas | 17 | 16163 | 7500 | -10020.2267 | 83.91 | 0.44009 | -8663 | -1228.6452 | -29549.9684 | 3.3859 | 16163 | -1228.6452
DMSHP with Integrated Controls Partially Displacing Existing Boiler, Gas | 18 | 11475 | 4000 | -4212.744 | 44.26 | 0.60545 | -7475 | -358.4649 | -13927.3678 | 1.9002 | 11475 | -358.4649
DMSHP with Integrated Controls Fully Displacing Existing Boiler, Gas | 18 | 15984 | 10000 | -7730 | 69.33 | 0.40442 | -5984 | -866.892 | -21588.056 | 2.8561 | 15984 | -866.892
Air-to-Water Heat Pump displacing Existing Boiler, Gas | 17 | 18500 | 7500 | -7644.9 | 91.3 | 1.1241 | -11000 | -457.243 | -18773.131 | 4.0311 | 18500 | -457.243
Closed Loop GSHP Replacing Furnace, Gas | 30 | 32639 | 10000 | -5720.5 | 75.92 | 1.2282 | -22639 | -208.343 | -28889.29 | 3.4198 | 32639 | -208.343
Open Loop GSHP Replacing Furnace, Gas | 30 | 20197 | 10000 | -4843.5 | 75.92 | 2.3425 | -10197 | 28.447 | -9343.59 | 3.5132 | 20197 | 28.447

## Gas Cost E
Measure | Total Resource Cost | Incentive | Customer Initial Purchase Cost (Negative Indicates a Cost) | Customer Operating Cost Savings
Central Ducted Heat Pump Partially Displacing Existing Furnace, Gas | 12724 | 4000 | -8724 | -405.0714
Central Ducted Heat Pump Fully Displacing Existing Furnace, Gas | 16163 | 7500 | -8663 | -1228.6452
DMSHP with Integrated Controls Partially Displacing Existing Boiler, Gas | 11475 | 4000 | -7475 | -358.4649
DMSHP with Integrated Controls Fully Displacing Existing Boiler, Gas | 15984 | 10000 | -5984 | -866.892
Air-to-Water Heat Pump displacing Existing Boiler, Gas | 18500 | 7500 | -11000 | -457.243
Closed Loop GSHP Replacing Furnace, Gas | 32639 | 10000 | -22639 | -208.343
Open Loop GSHP Replacing Furnace, Gas | 20197 | 10000 | -10197 | 28.447