## cover
This spreadsheet collects sources and calculations relevant to post on basic insulation expectations.
Will Brownsberger
2023-11-01

## Impact Evals
https://fileservice.eea.comacloud.net/FileService.Api/file/FileRoom/15035944
Sample Benefit Cost analysis -- denominators not stated
| Claims | MMBtu/Year
| Air Sealing Gas, SF | 2.8
| Insulation, Gas, SF | 14.1
| Air Sealing Oil, SF | 3.1
| Insulation Oil, SF | 13.8
| Air Sealing Gas, Attached Low Rise | 1.29
| Insulation, Gas, Attached Low Rise | 19.82
| Air Sealing Oil, Attached Low Rise | 1.85
| Insulation Oil, Attached Low Rise | 14.97
https://ma-eeac.org/wp-content/uploads/MA19R16-B-EO_-Energy-Optimization-Measures-and-Assumptions-Update-Model-2020-03-11-1.xlsx
Energy Optimization and Assumptions Model
Implies Calculated Savings from Res 34
| Furnace Heating Load | Pre-weatherization | 77.2 | MMBtu/year | Home Energy Services (HES) Impact Evaluation (RES 34) Engineering Algorithm Workbook Heating Load Calculated based on Annual Consumption
| Boiler Heating Load | Pre-weatherization | 77.2 | MMBtu/year | Home Energy Services (HES) Impact Evaluation (RES 34) Engineering Algorithm Workbook Heating Load Calculated based on Annual Consumption
| Furnace Heating Load | Post-weatherization | 67.1 | MMBtu/year | Pre-weatherization minus RES 34 calculated savings
| Boiler Heating Load | Post-weatherization | 67.1 | MMBtu/year | Pre-weatherization minus RES 34 calculated savings
| % Change |  | 13.08%
NOTE: SAME NUMBERS IN MA19CO4-E-EO - MA Energy Optimization Model_2021-03-08 supplied by ever sources
https://ma-eeac.org/wp-content/uploads/MA-RES-39-HES-RR-Assessment-Executive-Summary_FINALwES_19MAR2020.pdf
|  | Gas | Gas | Electric | Electric
Realization Rate Assessment -- Actual Averages |  | DMST | OPtix | DMST | OPtix
| N | 1662 | 1444 | 349 | 164
| Pre | 1082 | 1171 | 13477 | 14247
| Post | 986 | 1085 | 12631 | 12626
| Change Therms | 96 | 86 | 846 | 1621
|  | 8.872% | 7.344% | 6.277% | 11.38%
|  |  | 8.162% |  | 7.908%
"Models over predict energy consumption in older homes"
"Rebound effect is not a meaningful contributor to the realization rate disparity"
These seem to be for weatherization overall, multiple measures
Natural Gas weatherization participants
https://ma-eeac.org/wp-content/uploads/RES34_HES-Impact-Evaluation-Report-with-ES_FINAL_29AUG2018.pdf
Home Energy Services Impact Evaluation (Res 34)
Savings of 130 Therms per year state wide for air sealing and insulation in natural gas heated homes.
Previous evaluation in 2012 was 139 therms/year
The Home Energy Services (HES) initiative is the primary mechanism through which the Massachusetts Program Administrators (PAs) deliver energy efficiency to residential customers living in 1- to 4-unit homes.
To provide the PAs with the air sealing and insulation-type-specific savings shown Table 3-1, the team used the building simulation analysis to disaggregate the billing analysis-based weatherization estimate into these constituent parts.
2012 Home Energy Services Impact Evaluation REport
https://ma-eeac.org/wp-content/uploads/Home-Energy-Services-Impact-Evaluation-Report_Part-of-the-Massachusetts-2011-Residential-Retrofit-and-Low-Income-Program-Area-Evaluation.pdf
Table 14 Shows savings of 9% on usage of 1,112 Overal for insulation. 4% for Air Sealing. (Weather normalized.)
0.11137
2012 HES Impact Memo
https://ma-eeac.org/wp-content/uploads/Home-Energy-Services-Realization-Rate-Results-Memo-6-28-12.pdf
| Ex Post Commonwealthj Wide Savings |  | 139 | 1195 | 11.6%
Savings vs Normalized Average Consumption (therms)
Links to: | https://ma-eeac.org/wp-content/uploads/MA23X09-B-RCPS-Final-2021-Results-Brief.pdf
https://insight.dnv.com/MACustomerProfile/entity/Public/report/Ma-Customer-Profile-Study?bookmarkId=Bookmarka751bd4ddba4e0358b21
|  | All Programs -- Classes/Tracks |  |  |  | Residential Existing Buildings ONly
|  | Envelope | Hot water | HVAC | All | Envelope
| Gas Participants 2021 | 31600 | 38700 | 70500 | 118100 | 28500
| Gas Savings 2021 | 7296705 | 1470637 | 6834253 | 16386443 | 6130627
| Therms | 230.9084 | 38.001 | 96.9398 | 138.7506 | 215.1097
high . . . why?
| Elec Participants 2021 | 22900 |  |  | 208300
| Elec Savings 2021 | 16091774 |  |  | 439626837
| kwh | 702.6976 |  |  | 2110.5465
low . . . b/c savings are oil? This is just fan savings?
| Population Consumption 2021 | This report | SEDS
|  | 136.970 TeraBTU | 126.5
|  | 17.845 TWH | 20.3
https://insight.dnv.com/MACustomerProfile/entity/Public/report/Ma-Customer-Profile-Study?bookmarkId=Bookmark9b8a69b1eaa8007993c0
See a higher project count -- different from accounts or locations
From Katherine PetersEversourse -- 5 MMBTU?
2020 Plan Year Report Fuel : Electric; PA : All PAs; Year : 2020
*Data on the Measure Details tab will not match data on the Performance Details tab because the measure level data does not include all possible measures/values (e.g., carryover, measures with no BCR ID) that are captured in the data included in Performance Details.
| Category | Reporting Period | Sector | Program | Initiative | Measure | Quantity | Incentive ($) | Annual Electric Savings (MWh) | Lifetime Electric Savings (MWh) | Annual Gas Savings (Therms) | Lifetime Gas Savings (Therms) | Total Benefits ($)
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Central AC in Electrically-Heated Unit (Attached Low Rise) | 1 | 671 | 0 | 3 | - | - | 876
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Electric (Attached Low Rise) | 429 | 862786 | 908 | 22700 | - | - | 1596780
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Electric (Single Family) | 1408 | 2984496 | 2468 | 61688 | - | - | 4848236 | Therms/year/project
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Gas (Attached Low Rise) | 14 | 23899 | 1 | 25 | 840 | 20990 | 11100 |  | 59.9727
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Gas (Single Family) | 1762 | 3231319 | 1 | 19 | 112000 | 2799998 | 6248608 |  | 63.5641
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Oil (Attached Low Rise) | 863 | 2250074 | 80 | 1992 | - | - | 4944434
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Oil (Single Family) | 10228 | 26208869 | 919 | 22978 | - | - | 47661888
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Other (Attached Low Rise) | 45 | 85770 | 23 | 570 | - | - | 44939
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Other (Single Family) | 1059 | 2317106 | 82 | 2053 | - | - | 5352106
15809
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Electric (High Rise) | 1138 | 239458 | 416 | 10411 | - | - | 183695
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Oil (High Rise) | 81 | 45651 | 13 | 332 | - | - | 47731
1219
https://ma-eeac.org/wp-content/uploads/Low-Income-Multifamily-Impact-Evaluation-1.pdf
Multiple measures, not just weatherization
All together 21%

## Customer Profile Study
From Mass Save Customer Dashboard
https://viewer.dnv.com/macustomerprofile/entity/1444/report/2078
Focus on gas residential customers |  |  |  | All Uses |  |  |  |  | Envelope projects |  | All Projects | Conumption (thousand MMBTU) | Estimated consumption for accounts with envelope projects (therms) | Estimated savings rate from envelope projects | TBTU natural gas consumption from EIA | Savings per envelope project
View | Year | Participating Accounts | Billing Accounts | Savings (therms) | non-upstream | upstream | dual strem | Check sum | Number | Savings | Number
"participation and savings" | 2021 | 117900 |  | 16158042 | 10582524 | 4006534 | 1568984 | 0
"participation and savings" | 2020 | 82700 |  | 11204643 | 7279273 | 3040895 | 884475 | 0
"participation and savings" | 2019 | 101800 |  | 15158986 | 10977956 | 2965704 | 1215326 | 0
"participation and savings" | 2018 | 99800 |  | 14089176 | 8643047 | 4237126 | 1209002 | 1
"participation and savings" | 2017 | 80000 |  | 12323812 | 8080836 | 3239611 | 1003365 | 0
"End uses" | 2021 |  |  | 16386443 |  |  |  |  | 37800 | 7296705 | 179100 |  |  |  |  | 193.0345
"End uses" | 2020 |  |  | 11646680 |  |  |  |  | 18700 | 4936725 | 84200 |  |  |  |  | 263.996
"End uses" | 2019 |  |  | 15343061 |  |  |  |  | 25700 | 6215684 | 141500 |  |  |  |  | 241.8554
"End uses" | 2018 |  |  | 15593183 |  |  |  |  | 24400 | 5921164 | 131800 |  |  |  |  | 242.6707
"End uses" | 2017 |  |  | 12369780 |  |  |  |  | 19600 | 4202955 | 103200 |  |  |  |  | 214.4365
"Building Type"` | 2021 | 117067 | 1657115 | [8 empty] | 137203 | 31297003.5272 | 23.31% | 126.5
| 2020 | 81232 | 1745472 | [8 empty] | 115042 | 12324949.3547 | 40.05% | 123.9
| 2019 | 101566 | 1736654 | [8 empty] | 130340 | 19288459.3016 | 32.22% | 139.3
| 2018 | 99258 | 1688420 | [8 empty] | 132549 | 19155160.4459 | 30.91% | 134.3
| 2017 | 80204 | 1626733 | [8 empty] | 117380 | 14142751.146 | 29.72% | 124.8
What we want is savings/consumption for accounts doing envelope projects
We have total number of projects -- take this as equal to number of accounts within envelope line (although all lines of projects is >> number of participating accounts)
Do not have project type x building type, so have to take all building types and assume that consumption for participating accounts = consumption for non participating accounts
Note that billing account is mislabeled on the building type table as participating accounts (second instance)
Note that number of billing accounts may be > number of occupied units: 1,411,895 , https://willbrownsberger.com/heat-pumps/residential-energy-use/
Problem has to be with mix of count or sizing of projects -- results in column O and Q have to be wrong for SF projects -- or some reporting glitch
Note that have to look at "envelope" together at higher hierachy -- insulation and air sealing would otherwise be double counted as projects
Number of projects >> Number of participating accounts

## Detailed measures download
Year | 2013 | [5 empty] | 2014 | [5 empty] | 2015 | [5 empty] | 2016 | [5 empty] | 2017 | [5 empty] | 2018 | [5 empty] | 2019 | [5 empty] | 2020 | [5 empty] | 2021
Sub use | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects
[43 empty] | 80797 | 1% | 782534 | 9.69 | 1400 | 0.016627
Access | [36 empty] | 3 | 0% | 132044 | 38650.95 | 1200 | 0.008481
Aerators And Spray Valves | [18 empty] | 85856 | 1% | 131380 | 1.53 | 9700 | 0.10189 | 66837 | 1% | 86736 | 1.3 | 11100 | 0.10756 | 69307 | 0% | 84494 | 1.22 | 15900 | 0.12064 | 77739 | 1% | 124538 | 1.6 | 17800 | 0.12579 | 47934 | 0% | 58476 | 1.22 | 9600 | 0.11401 | 147375 | 1% | 408094 | 2.77 | 23700 | 0.13233
Air Sealing | [36 empty] | 56728 | 0% | 795530 | 14.02 | 3800 | 0.026855 | [6 empty] | 1870210 | 11% | 23557382 | 12.6 | 33900 | 0.18928
Appliance | [48 empty] | 4659 | 0% | 45050 | 9.67 | 500 | 0.002792
Boilers | [18 empty] | 1381295 | 12% | 20853874 | 15.1 | 6700 | 0.070378 | 2181040 | 18% | 29216873 | 13.4 | 15400 | 0.14922 | 2249814 | 14% | 38412311 | 17.07 | 11900 | 0.090288 | 2609683 | 17% | 48454019 | 18.57 | 12300 | 0.086926 | 1661116 | 14% | 35865517 | 21.59 | 10900 | 0.12945 | 2232463 | 14% | 40782535 | 18.27 | 13200 | 0.073702
Building Shell | [36 empty] | 6540764 | 43% | 83378322 | 12.75 | 27100 | 0.19152 | [6 empty] | 287614 | 2% | 1341335 | 4.66 | 1600 | 0.008934
Controls | [18 empty] | 1599270 | 14% | 2691992 | 1.68 | 26500 | 0.27836 | 2617613 | 21% | 4625766 | 1.77 | 39900 | 0.38663 | 3955617 | 25% | 7315784 | 1.85 | 57700 | 0.43778 | 2322452 | 15% | 6626153 | 2.85 | 49900 | 0.35265 | 1729771 | 15% | 4811432 | 2.78 | 33300 | 0.39549 | 2463228 | 15% | 8999371 | 3.65 | 59200 | 0.33054
Cooling | [19 empty] | 0% | 353511 | 0 | 300 | 0.003151 |  | 0% | 797426 | 0 | 500 | 0.004845 |  | 0% |  | 0 | 800 | 0.00607 |  | 0% |  | 0 | 3500 | 0.024735 | [7 empty] | 0% |  | 0 | 1000 | 0.005583
Dryers | [18 empty] | 1479 | 0% | 6350 | 4.29 | 100 | 0.00105 | 9012 | 0% | 70950 | 7.87 | 700 | 0.006783 | 17626 | 0% | 167320 | 9.49 | 1100 | 0.008346 | * | * | * | * | *
Duct Sealing | [48 empty] | 65620 | 0% | 1072282 | 16.34 | 3600 | 0.020101
Envelope | [18 empty] | 3049048 | 26% | 36261298 | 11.89 | 14600 | 0.15336 | 4353248 | 35% | 49230294 | 11.31 | 21200 | 0.20543 | 5653491 | 36% | 59027178 | 10.44 | 25200 | 0.1912 | [6 empty] | 4982974 | 43% | 72840908 | 14.62 | 18900 | 0.22447 | 5118607 | 31% | 82624059 | 16.14 | 32700 | 0.18258
Equipment | [36 empty] | 17452 | 0% | 181798 | 10.42 | 1100 | 0.007774 | 9076 | 0% | 90223 | 9.94 | 500 | 0.005938
Furnace | [18 empty] | 447988 | 4% | 3031594 | 6.77 | 4200 | 0.044118 | 648905 | 5% | 4650901 | 7.17 | 5800 | 0.056202 | 1104739 | 7% | 7074382 | 6.4 | 8300 | 0.062974 | 1085187 | 7% | 11430156 | 10.53 | 9800 | 0.069258 | 809307 | 7% | 12491002 | 15.43 | 9600 | 0.11401 | 980267 | 6% | 15003629 | 15.31 | 12300 | 0.068677
Heating | [18 empty] | 467806 | 4% | 4595454 | 9.82 | 3500 | 0.036765 | 499550 | 4% | 4131694 | 8.27 | 2800 | 0.027132 | 785209 | 5% | 3261983 | 4.15 | 3300 | 0.025038 | 810395 | 5% | 871261 | 1.08 | 3800 | 0.026855 | [6 empty] | 962098 | 6% | 9935815 | 10.33 | 4900 | 0.027359
Hot Water | [18 empty] | 1051454 | 9% | 10639562 | 10.12 | 9400 | 0.098739 | 1418537 | 11% | 12925216 | 9.11 | 10200 | 0.098837 | 1195148 | 8% | 10339239 | 8.65 | 11000 | 0.08346 | 1308997 | 9% | 17088923 | 13.05 | 14800 | 0.10459 | 950314 | 8% | 12317063 | 12.96 | 15600 | 0.18527 | 152503 | 1% | 1096778 | 7.19 | 4100 | 0.022892
HRV | [48 empty] | * | * | * | * | *
HVAC | [18 empty] | * | * | * | * | * | [13 empty] | 5810 | 0% | 55800 | 9.6 | 100 | 0.000707 | 1089141 | 9% | 8633525 | 7.93 | 7000 | 0.083135
Hvac-Chiller | [42 empty] | * | * | * | * | *
Hvac-Heating | [42 empty] | * | * | * | * | *
Insulation | [36 empty] | 181252 | 1% | 1913663 | 10.56 | 2800 | 0.019788 | [7 empty] | 0% | 2297 | 0 | 700 | 0.003908
Lighting | [18 empty] | -6087 | 0% | 432196 | -71 | 1100 | 0.011555 | 5552 | 0% | 1716210 | 309.09 | 6600 | 0.063953 | -686 | 0% | 2105255 | -3070.23 | 7900 | 0.059939 | 292 | 0% | 2149577 | 7354.01 | 7600 | 0.05371 | 674 | 0% | 570277 | 845.94 | 3700 | 0.043943 | 451 | 0% | 681173 | 1509.02 | 7400 | 0.041318
Low-Flow Showerhead | [18 empty] | 228256 | 2% | 252920 | 1.11 | 10600 | 0.11134 | 253774 | 2% | 257742 | 1.02 | 13200 | 0.12791 | 238203 | 2% | 289718 | 1.22 | 17000 | 0.12898 | 299937 | 2% | 403414 | 1.34 | 21100 | 0.14912 | 194131 | 2% | 276260 | 1.42 | 13500 | 0.16033 | 464708 | 3% | 635453 | 1.37 | 31500 | 0.17588
Not Assigned | ######## | 100% | ######## | 7.21 | 93100 | 1 | ######## | 100% | ######## | 7.61 | 108700 | 1 | ######## | 100% | ######## | 8.55 | 123300 | 1
Other | [18 empty] | * | * | * | * | * |  | 106703 | 1% | 541240 | 5.07 | 1300 | 0.012597 | 39138 | 0% | 2895165 | 73.97 | 10600 | 0.080425 | 26370 | 0% | 3374003 | 127.95 | 18800 | 0.13286 | 19238 | 0% | 2320962 | 120.64 | 8700 | 0.10333 | 129566 | 1% | 7434842 | 57.38 | 37300 | 0.20826
Smart Strip | [37 empty] | 0% | 191353 | 0 | 5300 | 0.037456 | [7 empty] | 0% | 144174 | 0 | 4200 | 0.023451
Tlc Kit | [30 empty] | * | * | * | * | *
Unknown | [18 empty] | 3374862 | 29% | 34650685 | 10.27 | 25000 | 0.2626 | 209009 | 2% | 2975651 | 14.24 | 1400 | 0.013566 | 269166 | 2% | 1862933 | 6.92 | 1100 | 0.008346 | [6 empty] | 43313 | 0% | 2945618 | 68.01 | 4500 | 0.053444 | 85736 | 1% | 2096605 | 24.45 | 9000 | 0.050251
Upstream Hot Water | [30 empty] | 16410 | 0% | 136106 | 8.29 | 200 | 0.001517 | [6 empty] | * | * | * | * | *
Ventilation | [37 empty] | 0% | 301223 | 0 | 2500 | 0.017668
Water Heaters | [48 empty] | 1157040 | 0.07 | 12497290.19 | 10.8 | 10800 | 0.060302
Weatherization | [48 empty] | 254584 | 2% | 5500117 | 21.6 | 1000 | 0.005583
Total | ######## | 100% | ######## | 7.21 | 93100 | 1 | ######## | 100% | ######## | 7.61 | 108700 | 1 | ######## | 100% | ######## | 8.55 | 123300 | 1 | ######## | 100% | ######### | 9.7 | 95200 | 1 | ######## | 100% | ######### | 8.99 | 103200 | 1 | ######## | 100% | ######### | 8.53 | 131800 | 1 | ######## | 100% | ######### | 11.57 | 141500 | 1 | ######## | 100% | ######### | 13.23 | 84200 | 1 | ######## | 100% | 213916832 | 13.05 | 179100 | 1
All hilghlighted | [50 empty] | 114097473 |  | 73500
Applied filters: Suppression option is End use, Sub use, Year Fuel is Gas Sector is Residential Is_behavioral is 0 Suppression status is Suppression ON Option is * New_Construction_Rule is True Suppression_visible is False

## Summary measures download
Total Projects | Year | 2017 | [5 empty] | 2018 | [5 empty] | 2019 | [5 empty] | 2020 | [5 empty] | 2021
| End use | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects
| Appliance | 9012 | 0% | 72433 | 8.04 | 700 | 0.0067829 | 17942 | 0% | 182879 | 10.19 | 1300 | 0.0098634 | * | * | * | * | *
126200 | Envelope | 4202955 | 34% | 48469478 | 11.53 | 19600 | 0.18992 | 5921164 | 38% | 57502127 | 9.71 | 24400 | 0.18513 | 6215684 | 41% | 78503979 | 12.63 | 25700 | 0.18163 | 4936725 | 42% | 72772659 | 14.74 | 18700 | 0.22209 | 7296705 | 45% | 112691181 | 15.44 | 37800 | 0.21106
| Hot Water | 1862943 | 15% | 14243233 | 7.65 | 30200 | 0.29264 | 2590730 | 17% | 27678072 | 10.68 | 41800 | 0.31715 | 2078769 | 14% | 24285496 | 11.68 | 45100 | 0.31873 | 812713 | 7% | 9056632 | 11.14 | 24700 | 0.29335 | 1470637 | 9% | 9418760 | 6.4 | 41800 | 0.23339
| HVAC | 5987453 | 48% | 43198229 | 7.21 | 58700 | 0.5688 | 6705631 | 43% | 39881129 | 5.95 | 71400 | 0.54173 | 7021945 | 46% | 68967369 | 9.82 | 77000 | 0.54417 | 5365421 | 46% | 62218151 | 11.6 | 54900 | 0.65202 | 6834253 | 42% | 75900499 | 11.11 | 89700 | 0.50084
| Lighting | -85 | 0% | 1648303 | -19494.92 | 6600 | 0.063953 | -686 | 0% | 2105515 | -3070.61 | 7900 | 0.059939 | 292 | 0% | 2149577 | 7354.01 | 7600 | 0.05371 | 674 | 0% | 570277 | 845.94 | 3700 | 0.043943 | 451 | 0% | 681173 | 1509.02 | 7400 | 0.041318
| Other | 98492 | 1% | 465348 | 4.72 | 1700 | 0.016473 | 27686 | 0% | 2773496 | 100.18 | 9600 | 0.072838 | 26370 | 0% | 3352303 | 127.13 | 16900 | 0.11943 | 86 | 0% | 1702876 | 19800.89 | 8400 | 0.099762 | 128796 | 1% | 7432147 | 57.7 | 37300 | 0.20826
| Plug Load |  | 0% | 154025 | 0 | 4500 | 0.043605 | 38764 | 0% | 604736 | 15.6 | 6700 | 0.050835 |  | 0% | 213053 | 0 | 7300 | 0.05159 | 5643 | 0% | 142522 | 25.26 | 3100 | 0.036817 |  | 0% | 144174 | 0 | 4200 | 0.023451
| Unknown | 209009 | 2% | 2975651 | 14.24 | 1400 | 0.013566 | 275541 | 2% | 2107963 | 7.65 | 1700 | 0.012898 | [6 empty] | 43313 | 0% | 2945618 | 68.01 | 4500 | 0.053444 | 85736 | 1% | 2096605 | 24.45 | 9000 | 0.050251
| Upstream Hot Water | [6 empty] | 16410 | 0% | 136106 | 8.29 | 200 | 0.0015175 | [6 empty] | 482107 | 4% | 4683595 | 9.71 | 8500 | 0.10095 | 567632 | 3% | 5537794 | 9.76 | 10100 | 0.056393
| Upstream HVAC | [24 empty] | * | * | * | * | *
| Total | 12369780 | 100% | 111226700 | 8.99 | 103200 | 1 | 15593183 | 100% | 132972022 | 8.53 | 131800 | 1 | 15343061 | 100% | 177486263 | 11.57 | 141500 | 1 | 11646680 | 100% | 154092331 | 13.23 | 84200 | 1 | 16386443 | 100% | 213916832 | 13.05 | 179100 | 1
[6 empty] | 123400 |  | 15593182 |  |  |  | 165000 |  | 15343060 |  |  |  | 179600 |  | 11646682 |  | 154092330 |  | 126500 | [5 empty] | 237300
Applied filters: Suppression option is End use, Sub use, Year Fuel is Gas Sector is Residential Is_behavioral is 0 Suppression status is Suppression ON Option is * New_Construction_Rule is True Suppression_visible is False

## Building Type Download
Building type | Year | Incentives | Savings (thousand MMBTU) | Consumption (thousand MMBTU) | Participating accounts | Participating accounts
Unknown building use | 2013 | 2009677 | 22 | 1384 | 1126 | 23493
Unknown building use | 2014 | 3506874 | 39 | 1422 | 1043 | 24663
Unknown building use | 2015 | 1728114 | 21 | 1563 | 1037 | 22957
Unknown building use | 2016 | 1816725 | 19 | 1185 | 740 | 21517
Unknown building use | 2017 | 1496628 | 17 | 1494 | 1149 | 24767
Unknown building use | 2018 | 2993817 | 28 | 1612 | 1481 | 26473
Unknown building use | 2019 | 3480969 | 29 | 1646 | 1490 | 30642
Unknown building use | 2020 | 2909708 | 25 | 1549 | 1143 | 31686
Unknown building use | 2021 | 4958922 | 38 | 2569 | 2189 | 39215
Single Family | 2013 | 42371385 | 637 | 64897 | 54729 | 691969
Single Family | 2014 | 48409514 | 668 | 74887 | 52200 | 733611
Single Family | 2015 | 54921404 | 688 | 75079 | 54346 | 721343
Single Family | 2016 | 62397565 | 686 | 65815 | 49586 | 735534
Single Family | 2017 | 59638157 | 705 | 69311 | 52903 | 740372
Single Family | 2018 | 75170144 | 948 | 77681 | 67597 | 750185
Single Family | 2019 | 101719052 | 872 | 76375 | 66920 | 767750
Single Family | 2020 | 92565203 | 668 | 69041 | 53404 | 779812
Single Family | 2021 | 126075629 | 893 | 78091 | 70767 | 755868
Condo | 2013 | 5388575 | 91 | 7697 | 11261 | 157863
Condo | 2014 | 7038258 | 118 | 9131 | 8106 | 180199
Condo | 2015 | 9516536 | 133 | 9151 | 9358 | 167463
Condo | 2016 | 13297681 | 134 | 8220 | 9734 | 175273
Condo | 2017 | 9023950 | 120 | 8309 | 10316 | 174068
Condo | 2018 | 8315535 | 141 | 9871 | 11925 | 187857
Condo | 2019 | 13525338 | 142 | 9638 | 12422 | 192941
Condo | 2020 | 10736566 | 88 | 8607 | 9425 | 194520
Condo | 2021 | 14442843 | 121 | 10559 | 14827 | 189117
Duplex/Triplex | 2013 | 11090782 | 133 | 22095 | 14297 | 350890
Duplex/Triplex | 2014 | 10680549 | 135 | 27508 | 11981 | 385733
Duplex/Triplex | 2015 | 11630019 | 126 | 28176 | 10627 | 367807
Duplex/Triplex | 2016 | 11125286 | 109 | 24593 | 8454 | 379213
Duplex/Triplex | 2017 | 11716541 | 122 | 25900 | 9511 | 382031
Duplex/Triplex | 2018 | 15320644 | 162 | 29060 | 12421 | 388428
Duplex/Triplex | 2019 | 23926519 | 200 | 28922 | 14983 | 407645
Duplex/Triplex | 2020 | 18952785 | 146 | 24550 | 11659 | 395774
Duplex/Triplex | 2021 | 31527902 | 238 | 30828 | 17262 | 388010
Small Multifamily, 4-8 Units | 2013 | 1769050 | 21 | 3612 | 1549 | 75028
Small Multifamily, 4-8 Units | 2014 | 1505296 | 25 | 4500 | 979 | 81282
Small Multifamily, 4-8 Units | 2015 | 1298823 | 16 | 4811 | 1117 | 79579
Small Multifamily, 4-8 Units | 2016 | 1205453 | 11 | 4125 | 761 | 82812
Small Multifamily, 4-8 Units | 2017 | 1825517 | 13 | 4404 | 896 | 84363
Small Multifamily, 4-8 Units | 2018 | 1241586 | 14 | 4920 | 962 | 85836
Small Multifamily, 4-8 Units | 2019 | 2679423 | 25 | 4922 | 1426 | 91453
Small Multifamily, 4-8 Units | 2020 | 1768079 | 14 | 4106 | 1095 | 86069
Small Multifamily, 4-8 Units | 2021 | 2956567 | 26 | 6133 | 1819 | 85436
Large Multifamily, >8 Units | 2013 | 2321470 | 37 | 1583 | 4047 | 58369
Large Multifamily, >8 Units | 2014 | 4427604 | 57 | 1893 | 1415 | 75053
Large Multifamily, >8 Units | 2015 | 4869848 | 55 | 2055 | 965 | 69883
Large Multifamily, >8 Units | 2016 | 5940525 | 56 | 1848 | 1529 | 79314
Large Multifamily, >8 Units | 2017 | 5337733 | 57 | 2021 | 2184 | 84842
Large Multifamily, >8 Units | 2018 | 3051273 | 36 | 2339 | 2532 | 91877
Large Multifamily, >8 Units | 2019 | 3854197 | 40 | 2379 | 1838 | 100687
Large Multifamily, >8 Units | 2020 | 6790346 | 58 | 2030 | 1921 | 103176
Large Multifamily, >8 Units | 2021 | 10530244 | 75 | 2992 | 5157 | 103290
Mobile/Other Residential | 2013 | 8221574 | 103 | 1626 | 2078 | 24729
Mobile/Other Residential | 2014 | 9645941 | 98 | 1915 | 5341 | 27060
Mobile/Other Residential | 2015 | 9801555 | 67 | 1881 | 2811 | 25044
Mobile/Other Residential | 2016 | 2592201 | 25 | 1680 | 1148 | 26267
Mobile/Other Residential | 2017 | 4314261 | 42 | 1844 | 1134 | 31102
Mobile/Other Residential | 2018 | 1367350 | 14 | 2083 | 1058 | 32364
Mobile/Other Residential | 2019 | 5064157 | 43 | 1937 | 1092 | 29409
Mobile/Other Residential | 2020 | 2995781 | 23 | 1742 | 1197 | 31713
Mobile/Other Residential | 2021 | 4767813 | 42 | 2141 | 2046 | 29147
Housing Authorities/Subsidized Housing | 2013 | 1445033 | 12 | 376 | 210 | 6786
Housing Authorities/Subsidized Housing | 2014 | 2234227 | 25 | 466 | 115 | 7222
Housing Authorities/Subsidized Housing | 2015 | 1553815 | 14 | 437 | 211 | 6878
Housing Authorities/Subsidized Housing | 2016 | 5104251 | 36 | 387 | 347 | 7190
Housing Authorities/Subsidized Housing | 2017 | 4435131 | 39 | 400 | 187 | 7072
Housing Authorities/Subsidized Housing | 2018 | 2652944 | 11 | 443 | 153 | 7724
Housing Authorities/Subsidized Housing | 2019 | 6299177 | 43 | 432 | 118 | 7372
Housing Authorities/Subsidized Housing | 2020 | * | * | * | * | 7639
Housing Authorities/Subsidized Housing | 2021 | 4722706 | 63 | 412 | 654 | 6879
Mixed Use - Primarily Residential | 2013 | 1230942 | 11 | 829 | 413 | 18200
Mixed Use - Primarily Residential | 2014 | 1457051 | 13 | 1020 | 370 | 20315
Mixed Use - Primarily Residential | 2015 | 1525208 | 17 | 1076 | 376 | 19230
Mixed Use - Primarily Residential | 2016 | 1803172 | 20 | 943 | 389 | 21123
Mixed Use - Primarily Residential | 2017 | 714977 | 10 | 1007 | 377 | 22341
Mixed Use - Primarily Residential | 2018 | 1349318 | 13 | 1232 | 480 | 25985
Mixed Use - Primarily Residential | 2019 | 4388403 | 29 | 1160 | 400 | 27077
Mixed Use - Primarily Residential | 2020 | 1750468 | 16 | 971 | 445 | 27006
Mixed Use - Primarily Residential | 2021 | 2762325 | 23 | 1402 | 979 | 26995
Other Non-Residential | 2013 | 3097116 | 35 | 3579 | 3387 | 87772
Other Non-Residential | 2014 | 6419487 | 73 | 3069 | 1467 | 80643
Other Non-Residential | 2015 | 8164016 | 92 | 3099 | 1222 | 76523
Other Non-Residential | 2016 | 8334828 | 77 | 2595 | 1453 | 73221
Other Non-Residential | 2017 | 7569787 | 74 | 2690 | 1547 | 75775
Other Non-Residential | 2018 | 3922095 | 30 | 3308 | 649 | 91691
Other Non-Residential | 2019 | 6855500 | 46 | 2929 | 877 | 81678
Other Non-Residential | 2020 | 3752395 | 30 | 2446 | 943 | 88077
Other Non-Residential | 2021 | 6650621 | 67 | 2076 | 1367 | 33158
Total |  | 1142279217 | 11502 | 1105095 | 637700 | 3392400
Applied filters: Suppression option is Building type, Year Year is 2014, 2015, 2016, 2017, 2018, 2019, 2020, 2021, or 2013 Fuel is Gas Sector is Residential Is_behavioral is 0 Building type is not Not location specific savings Suppression status is Suppression ON Option is * New_Construction_Rule is True Suppression_visible is False

## Building Type Pivot
Year | Sum of Consumption (thousand MMBTU) | Sum of Participating accounts | Sum of Participating accounts2
2013 | 107678 | 93097 | 1495099
2014 | 125811 | 83017 | 1615781
2015 | 127328 | 82070 | 1556707
2016 | 111391 | 74141 | 1601464
2017 | 117380 | 80204 | 1626733
2018 | 132549 | 99258 | 1688420
2019 | 130340 | 101566 | 1736654
2020 | 115042 | 81232 | 1745472
2021 | 137203 | 117067 | 1657115
Grand Total | 1104722 | 811652 | 14723445

## HEA results
No recommendations | 30% | From Mass Save PA reports
Recommendations not implemented | 34.75%
Recommendations implemented | 35.25%
State Gas and Electric
From KPI 1 Mass Save Quarterly KPI reports (showing only quarters with full year of follow up): https://ma-eeac.org/results-reporting/quarterly-reports/
Audit Type | Measures | Unique HEA Count | # of Recommendations | # of Conversions (Incremental) |  |  |  |  | Total # of Conversions (Cumulative) | Conversion Rate
|  | 2021 Q1 | 2021 Q1 | 2021 Q1 | 2021 Q2 | 2021 Q3 | 2021 Q4 | 2022 Q1 | 2021 Q1-2022 Q1
Virtual | Insulation | - | 6863 | 271 | 622 | 358 | 348 | 85 | 1684 | 25% | 24.54%
| Air Sealing | - | 6110 | 250 | 529 | 301 | 313 | 78 | 1471 | 24% | 24.08%
| Duct Sealing | - | 440 | 21 | 29 | 16 | 21 | 5 | 92 | 21% | 20.91%
| Duct Insulation | - | 33 | - | 1 | - | 1 | - | 2 | 6% | 6.061%
| Total | 10238 | 13446 | 542 | 1181 | 675 | 683 | 168 | 3249 | 24% | 24.16%
In-Person | Insulation | - | 11344 | 1294 | 3550 | 1497 | 457 | 111 | 6909 | 61% | 60.9%
| Air Sealing | - | 10357 | 1294 | 3427 | 1429 | 432 | 104 | 6686 | 65% | 64.56%
| Duct Sealing | - | 1005 | 128 | 304 | 136 | 22 | 4 | 594 | 59% | 59.1%
| Duct Insulation | - | 148 | 12 | 39 | 26 | 1 | - | 78 | 53% | 52.7%
| Total | 17215 | 22854 | 2728 | 7320 | 3088 | 912 | 219 | 14267 | 62% | 62.43%
|  | 2021 Q2 | 2021 Q2 | 2021 Q2 | 2021 Q3 | 2021 Q4 | 2022 Q1 | 2022 Q2 | 2021 Q2-2022 Q2
Virtual | Insulation | - | 4098 | 153 | 316 | 392 | 96 | 73 | 1030 | 25% | 25.13%
| Air Sealing | - | 3666 | 129 | 279 | 365 | 91 | 71 | 935 | 26% | 25.5%
| Duct Sealing | - | 246 | 5 | 14 | 14 | 10 | 4 | 47 | 19% | 19.11%
| Duct Insulation | - | 23 | - | 3 | 4 | 3 | - | 10 | 43% | 43.48%
| Total | 6828 | 8033 | 287 | 612 | 775 | 200 | 148 | 2022 | 25% | 25.17%
In-Person | Insulation | - | 12101 | 1555 | 3009 | 1258 | 182 | 177 | 6181 | 51% | 51.08%
| Air Sealing | - | 12024 | 1536 | 2906 | 1165 | 164 | 165 | 5936 | 49% | 49.37%
| Duct Sealing | - | 1192 | 182 | 312 | 118 | 16 | 12 | 640 | 54% | 53.69%
| Duct Insulation | - | 146 | 12 | 40 | 16 | 3 | 1 | 72 | 49% | 49.32%
| Total | 16472 | 25463 | 3285 | 6267 | 2557 | 365 | 355 | 12829 | 50% | 50.38%
|  | 2021 Q3 | 2021 Q3 | 2021 Q3 | 2021 Q4 | 2022 Q1 | 2022 Q2 | 2022 Q3 | 2021 Q3-2022 Q3
Virtual | Insulation | - | 1657 | 76 | 555 | 89 | 68 | 29 | 817 | 49% | 49.31%
| Air Sealing | - | 1461 | 68 | 526 | 81 | 62 | 27 | 764 | 52% | 52.29%
| Duct Sealing | - | 120 | 6 | 29 | 6 | 5 | 2 | 48 | 40% | 40%
| Duct Insulation | - | 15 | - | 5 | 1 | 1 | - | 7 | 47% | 46.67%
| Total | 2814 | 3253 | 150 | 1115 | 177 | 136 | 58 | 1636 | 50% | 50.29%
In-Person | Insulation | - | 12621 | 1898 | 3471 | 401 | 264 | 126 | 6160 | 49% | 48.81%
| Air Sealing | - | 11686 | 1875 | 3180 | 379 | 258 | 117 | 5809 | 50% | 49.71%
| Duct Sealing | - | 1230 | 211 | 342 | 43 | 24 | 12 | 632 | 51% | 51.38%
| Duct Insulation | - | 151 | 20 | 43 | 6 | 3 | 1 | 73 | 48% | 48.34%
| Total | 18290 | 25688 | 4004 | 7036 | 829 | 549 | 256 | 12674 | 49% | 49.34%
|  | 2021 Q4 | 2021 Q4 | 2021 Q4 | 2022 Q1 | 2022 Q2 | 2022 Q3 | 2022 Q4 | 2021 Q4-2022 Q4
Virtual | Insulation | - | 2208 | 347 | 306 | 155 | 53 | 35 | 896 | 41% | 40.58%
| Air Sealing | - | 1969 | 338 | 281 | 148 | 50 | 34 | 850 | 43% | 43.17%
| Duct Sealing | - | 152 | 25 | 21 | 10 | 2 | 1 | 59 | 39% | 38.82%
| Duct Insulation | - | 22 | - | 2 | 1 | - | - | 3 | 14% | 13.64%
| Total | 3616 | 4351 | 710 | 610 | 314 | 105 | 70 | 1809 | 42% | 41.58%
In-Person | Insulation | - | 15469 | 2875 | 1915 | 949 | 255 | 214 | 6208 | 40% | 40.13%
| Air Sealing | - | 14223 | 2805 | 1806 | 865 | 236 | 213 | 5926 | 42% | 41.66%
| Duct Sealing | - | 1371 | 226 | 168 | 76 | 16 | 17 | 503 | 37% | 36.69%
| Duct Insulation | - | 181 | 20 | 15 | 13 | 2 | 1 | 51 | 28% | 28.18%
| Total | 21622 | 31244 | 5926 | 3904 | 1903 | 507 | 443 | 12683 | 41% | 40.59%
|  | 2022 Q1 | 2022 Q1 | 2022 Q1 | 2022 Q2 | 2022 Q3 | 2022 Q4 | 2023 Q1 | 2022 Q1-2023 Q1
Virtual | Insulation | - | 2329 | 306 | 506 | 120 | 60 | 34 | 1026 | 44% | 44.05%
| Air Sealing | - | 2059 | 295 | 471 | 112 | 59 | 35 | 972 | 47% | 47.21%
| Duct Sealing | - | 152 | 19 | 38 | 9 | 6 | - | 72 | 47% | 47.37%
| Duct Insulation | - | 20 | - | 3 | - | - | - | 3 | 15% | 15%
| Total | 3166 | 4560 | 620 | 1018 | 241 | 125 | 69 | 2073 | 45% | 45.46%
In-Person | Insulation | - | 14963 | 2505 | 3343 | 779 | 433 | 201 | 7261 | 49% | 48.53%
| Air Sealing | - | 13752 | 2470 | 3211 | 745 | 445 | 202 | 7073 | 51% | 51.43%
| Duct Sealing | - | 1321 | 273 | 306 | 52 | 30 | 21 | 682 | 52% | 51.63%
| Duct Insulation | - | 157 | 28 | 35 | 8 | 2 | 22 | 95 | 61% | 60.51%
| Total | 21030 | 30193 | 5276 | 6895 | 1584 | 910 | 446 | 15111 | 50% | 50.05%
|  | 2022 Q2 | 2022 Q2 | 2022 Q2 | 2022 Q3 | 2022 Q4 | 2023 Q1 | 2023 Q2 | 2022 Q2-2023 Q2
Virtual | Insulation | - | 950 | 183 | 189 | 172 | 23 | 11 | 578 | 61% | 60.84%
| Air Sealing | - | 830 | 189 | 193 | 185 | 20 | 8 | 595 | 72% | 71.69%
| Duct Sealing | - | 44 | 5 | 13 | 24 | - | 1 | 43 | 98% | 97.73%
| Duct Insulation | - | 4 | - | 1 | 1 | - | - | 2 | 50% | 50%
| Total | 1604 | 1800 | 377 | 396 | 382 | 43 | 20 | 1218 | 68% | 67.67%
In-Person | Insulation | - | 14602 | 2593 | 2959 | 3866 | 339 | 132 | 9889 | 68% | 67.72%
| Air Sealing | - | 13460 | 2693 | 2965 | 4111 | 326 | 128 | 10223 | 76% | 75.95%
| Duct Sealing | - | 1334 | 301 | 307 | 411 | 31 | 8 | 1058 | 79% | 79.31%
| Duct Insulation | - | 137 | 19 | 38 | 55 | 5 | 1 | 118 | 86% | 86.13%
| Total | 22006 | 29413 | 5606 | 6269 | 8443 | 699 | 269 | 21286 | 72% | 72.37%
TOTAL TOTAL | Insulation | 0 | 99205 | 14056 | 20741 | 10036 | 2578 | 1228 | 48639 |  | 49.03%
| Air Sealing | 0 | 91597 | 13942 | 19774 | 9886 | 2456 | 1182 | 47240 |  | 51.57%
| Duct Sealing | 0 | 8607 | 1402 | 1883 | 915 | 183 | 87 | 4470 |  | 51.93%
| Duct Insulation | 0 | 1037 | 111 | 225 | 131 | 21 | 26 | 514 |  | 49.57%
| Total | 144901 | 200298 | 29511 | 42623 | 20968 | 5234 | 2521 | 100857 |  | 50.35%
1.3823

## Electric History
Year | 2013 | 2013 | 2013 | 2013 | 2013 | 2013 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2015 | 2015 | 2015 | 2015 | 2015 | 2015 | 2016 | 2016 | 2016 | 2016 | 2016 | 2016 | 2017 | 2017 | 2017 | 2017 | 2017 | 2017 | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | 2019 | 2019 | 2019 | 2019 | 2019 | 2019 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2021 | 2021 | 2021 | 2021 | 2021 | 2021
Broad end use | Savings [kWh/therm] | Savings by end use [%] | Incentives [$] | Incentives per kWh saved | Number of projects | Percentage of projects | Savings [kWh/therm] | Savings by end use [%] | Incentives [$] | Incentives per kWh saved | Number of projects | Percentage of projects | Savings [kWh/therm] | Savings by end use [%] | Incentives [$] | Incentives per kWh saved | Number of projects | Percentage of projects | Savings [kWh/therm] | Savings by end use [%] | Incentives [$] | Incentives per kWh saved | Number of projects | Percentage of projects | Savings [kWh/therm] | Savings by end use [%] | Incentives [$] | Incentives per kWh saved | Number of projects | Percentage of projects | Savings [kWh/therm] | Savings by end use [%] | Incentives [$] | Incentives per kWh saved | Number of projects | Percentage of projects | Savings [kWh/therm] | Savings by end use [%] | Incentives [$] | Incentives per kWh saved | Number of projects | Percentage of projects | Savings [kWh/therm] | Savings by end use [%] | Incentives [$] | Incentives per kWh saved | Number of projects | Percentage of projects | Savings [kWh/therm] | Savings by end use [%] | Incentives [$] | Incentives per kWh saved | Number of projects | Percentage of projects
Appliance | 17077951.12 | 3% | 8776739.8 | 0.51 | 48800 | 0.27571 | 20683888.34 | 3% | 7511731.43 | 0.36 | 41300 | 0.070083 | 14899271.02 | 3% | 7375097.96 | 0.49 | 21400 | 0.053891 | 11142606.67 | 2% | 5989620.7 | 0.54 | 18600 | 0.074251 | 17615062.19 | 2% | 6728552.47 | 0.38 | 30300 | 0.1105 | 25771772.46 | 3% | 8685449.25 | 0.34 | 32800 | 0.066707 | 2722002.79 | 0% | 740949.72 | 0.27 | 4300 | 0.0074023
Behavior | [42 empty] | 1290568 | 0% | 266452 | 0.21 | 7500 | 0.046097 | 1645765.02 | 0% | 269980.6 | 0.16 | 11400 | 0.025071
Envelope | 6779127.41 | 1% | 42741634.07 | 6.3 | 32900 | 0.18588 | 9967991.71 | 2% | 31498862.1 | 3.16 | 20800 | 0.035296 | 8299528.39 | 2% | 39860236.03 | 4.8 | 21400 | 0.053891 | 7802965.02 | 1% | 27294000.77 | 3.5 | 17700 | 0.070659 | 16323994.64 | 2% | 35891516.86 | 2.2 | 25800 | 0.094092 | 8638979.24 | 1% | 33971254.6 | 3.93 | 17800 | 0.036201 | 13563853.77 | 1% | 53234176.62 | 3.92 | 21700 | 0.037356 | 10044414.78 | 1% | 57041340.51 | 5.68 | 15000 | 0.092194 | 16091773.7 | 4% | 77897029.45 | 4.84 | 27500 | 0.060479
Hot Water | 7107809.17 | 1% | 3512405.71 | 0.49 | 41300 | 0.23333 | 6802961.89 | 1% | 2870949.24 | 0.42 | 21800 | 0.036993 | 7353455.02 | 1% | 3731104.36 | 0.51 | 26200 | 0.065978 | 6172325.84 | 1% | 7723134.22 | 1.25 | 25500 | 0.1018 | 3806949.36 | 0% | 3377929.92 | 0.89 | 22200 | 0.080963 | 4184573.15 | 0% | 8397448.66 | 2.01 | 33900 | 0.068944 | 5981705.69 | 1% | 8975050.71 | 1.5 | 41200 | 0.070924 | 3865486.12 | 0% | 10030739.53 | 2.59 | 25700 | 0.15796 | 5060898.45 | 1% | 3380516.74 | 0.67 | 37400 | 0.082252
HVAC | 10409123.7 | 2% | 21169272.52 | 2.03 | 57700 | 0.32599 | 17632503.54 | 3% | 23901355.37 | 1.36 | 57400 | 0.097404 | 17617178.31 | 3% | 23085776.62 | 1.31 | 60700 | 0.15286 | 16490863.2 | 2% | 24043904.64 | 1.46 | 61700 | 0.24631 | 36235938.2 | 5% | 36824319.81 | 1.02 | 98600 | 0.35959 | 25199068.23 | 3% | 35575938.79 | 1.41 | 92200 | 0.18751 | 22587532.16 | 2% | 52515019.63 | 2.32 | 108200 | 0.18626 | 5253366.44 | 1% | 15179638.33 | 2.89 | 22800 | 0.14014 | 17224773.35 | 4% | 31783394.54 | 1.85 | 40200 | 0.08841
Lighting | 453207477.78 | 89% | 68141689.91 | 0.15 | 118400 | 0.66893 | 557305929.39 | 89% | 79421832.44 | 0.14 | 414400 | 0.70321 | 458950726.33 | 87% | 88578566.28 | 0.19 | 283100 | 0.71292 | 596910960.56 | 90% | 92348634.62 | 0.15 | 147500 | 0.58882 | 697013400.66 | 87% | 93065589.8 | 0.13 | 133200 | 0.48578 | 794747587.26 | 88% | 104957214.31 | 0.13 | 326800 | 0.66463 | 813479843.2 | 89% | 105179471.09 | 0.13 | 412100 | 0.70942 | 742629043.7 | 90% | 72035559.64 | 0.1 | 67200 | 0.41303 | 326271666.97 | 74% | 38396299.19 | 0.12 | 241400 | 0.5309
Motors/Drives | [42 empty] | * | * | * | * | *
Other | [6 empty] | 1878015 | 0% | 3273977.84 | 1.74 | 28700 | 0.048702 | 992631.17 | 0% | 3159093.15 | 3.18 | 26700 | 0.067237 | 2212801.57 | 0% | 1150697.47 | 0.52 | 1600 | 0.0063872 | 3520764.86 | 0% | 2349047.92 | 0.67 | 1800 | 0.0065646 | 547836.19 | 0% | 3031576.21 | 5.53 | 18600 | 0.037828 | 1867153.1 | 0% | 4018643.33 | 2.15 | 15900 | 0.027371 | 1280 | 0% | 1874850.89 | 1464.73 | 9500 | 0.05839 | 23832 | 0% | 4788563.58 | 200.93 | 46400 | 0.10205
Plug Load | 16180287.3 | 3% | 2233192.95 | 0.14 | 39300 | 0.22203 | 13559640.91 | 2% | 4197945.93 | 0.31 | 153900 | 0.26116 | 18225813.99 | 3% | 5084576.13 | 0.28 | 123200 | 0.31025 | 17585846.1 | 3% | 5454384.4 | 0.31 | 103700 | 0.41397 | 18726063.8 | 2% | 4353964.17 | 0.23 | 93300 | 0.34026 | 31853684.07 | 4% | 9860069.04 | 0.31 | 123100 | 0.25036 | 51871312.8 | 6% | 13723000 | 0.26 | 136000 | 0.23412 | 49709725.94 | 6% | 9389639.89 | 0.19 | 81300 | 0.49969 | 55095169.48 | 13% | 11906617.78 | 0.22 | 109600 | 0.24104
Tlc Kit | [6 empty] | 102754 | 0% | 227104.61 | 2.21 | 13700 | 0.023248 | 888651 | 0% | 256874.78 | 0.29 | 12200 | 0.030723 | 1455341 | 0% | 380121.65 | 0.26 | 15600 | 0.062275 | 2906135.6 | 0% | 1491972.77 | 0.51 | 18900 | 0.068928 | 1676343 | 0% | 338475.8 | 0.2 | 14300 | 0.029083 | 2064225 | 0% | 917375.83 | 0.44 | 13000 | 0.022379
Unknown | 87857.11 | 0% | 119012.77 | 1.35 | 300 | 0.0016949 | 616587.3 | 0% | 584780.69 | 0.95 | 17300 | 0.029357 | 2481265.72 | 0% | 3067926.77 | 1.24 | 14800 | 0.03727 | 1783107.23 | 0% | 1037490.21 | 0.58 | 500 | 0.001996 | 778112.54 | 0% | 8261896.04 | 10.62 | 9900 | 0.036105 | 7037510.17 | 1% | 2839168.17 | 0.4 | 2800 | 0.0056945 | [6 empty] | * | * | * | * | * |  | 4197043.44 | 1% | 1316723.49 | 0.31 | 4400 | 0.0096767
Upstream Hot Water | [42 empty] | 1682727.4 | 0% | 2404471.27 | 1.43 | 4100 | 0.0252 | 1162231.8 | 0% | 1962135 | 1.69 | 4000 | 0.008797
Upstream HVAC | [24 empty] | * | * | * | * | * |  | * | * | * | * | * | [7 empty] | 12339515.5 | 1% | 35771408.25 | 2.9 | 57400 | 0.3528 | 12853682.4 | 3% | 42852673.38 | 3.33 | 95500 | 0.21003
Total | 510849633.59 | 100% | 146693947.74 | 0.29 | 177000 | 1 | 628550272.09 | 100% | 153488539.65 | 0.24 | 589300 | 1 | 529708520.95 | 100% | 174199252.08 | 0.33 | 397100 | 1 | 661556817.18 | 100% | 165421988.68 | 0.25 | 250500 | 1 | 797679613.89 | 100% | 192636363.37 | 0.24 | 274200 | 1 | 899658895.77 | 100% | 207658087.32 | 0.23 | 491700 | 1 | 914137628.52 | 100% | 239303686.93 | 0.26 | 580900 | 1 | 829115723.9 | 100% | 205303206.31 | 0.25 | 162700 | 1 | 439626836.6 | 100% | 214553933.74 | 0.49 | 454700 | 1
Applied filters: Suppression option is End use, Sub use, Year Fuel is Electric Sector is Residential Is_behavioral is 0 Suppression status is Suppression ON Option is * New_Construction_Rule is True Suppression_visible is False
| Envelope | Broad end use
| 42741634.07 | Incentives [$]
| 31498862.1 | Incentives [$]
| 39860236.03 | Incentives [$]
| 27294000.77 | Incentives [$]
| 35891516.86 | Incentives [$]
| 33971254.6 | Incentives [$]
| 53234176.62 | Incentives [$]
| 57041340.51 | Incentives [$]
| 77897029.45 | Incentives [$]
| 6.3 | Incentives per kWh saved
| 3.16 | Incentives per kWh saved
| 4.8 | Incentives per kWh saved
| 3.5 | Incentives per kWh saved
| 2.2 | Incentives per kWh saved
| 3.93 | Incentives per kWh saved
| 3.92 | Incentives per kWh saved
| 5.68 | Incentives per kWh saved
| 4.84 | Incentives per kWh saved
| 32900 | Number of projects
| 20800 | Number of projects
| 21400 | Number of projects
| 17700 | Number of projects
| 25800 | Number of projects
| 17800 | Number of projects
| 21700 | Number of projects
| 15000 | Number of projects
| 27500 | Number of projects
| 0.18588 | Percentage of projects
| 0.035296 | Percentage of projects
| 0.053891 | Percentage of projects
| 0.070659 | Percentage of projects
| 0.094092 | Percentage of projects
| 0.036201 | Percentage of projects
| 0.037356 | Percentage of projects
| 0.092194 | Percentage of projects
| 0.060479 | Percentage of projects
| 6779127.41 | Savings [kWh/therm]
| 9967991.71 | Savings [kWh/therm]
| 8299528.39 | Savings [kWh/therm]
| 7802965.02 | Savings [kWh/therm]
| 16323994.64 | Savings [kWh/therm]
| 8638979.24 | Savings [kWh/therm]
| 13563853.77 | Savings [kWh/therm]
| 10044414.78 | Savings [kWh/therm]
| 16091773.7 | Savings [kWh/therm]
| 0.01 | Savings by end use [%]
| 0.02 | Savings by end use [%]
| 0.02 | Savings by end use [%]
| 0.01 | Savings by end use [%]
| 0.02 | Savings by end use [%]
| 0.01 | Savings by end use [%]
| 0.01 | Savings by end use [%]
| 0.01 | Savings by end use [%]
| 0.04 | Savings by end use [%]

## Gas History
Year | 2013 | 2013 | 2013 | 2013 | 2013 | 2013 | 2014 | 2014 | 2014 | 2014 | 2014 | 2014 | 2015 | 2015 | 2015 | 2015 | 2015 | 2015 | 2016 | 2016 | 2016 | 2016 | 2016 | 2016 | 2017 | 2017 | 2017 | 2017 | 2017 | 2017 | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | 2019 | 2019 | 2019 | 2019 | 2019 | 2019 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2021 | 2021 | 2021 | 2021 | 2021 | 2021
End use | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects | Savings (therms) | Savings by end use (%) | Incentives | Incentives per therm saved | Number of projects | Percentage of projects
Appliance | * | * | * | * | * |  | 0 | 0% | 0 | 0 | 500 | 0.0045998 | 0 | 0% | 0 | 0 | 100 | 0.00081103 | 116241.93 | 1% | 1602971.1 | 13.79 | 1000 | 0.010504 | 9012.3 | 0% | 72432.6 | 8.04 | 700 | 0.0067829 | 17942.1 | 0% | 182879.07 | 10.19 | 1300 | 0.0098634 | * | * | * | * | *
Envelope | 3354164.32 | 30% | 37216589.68 | 11.1 | 38500 | 0.41353 | 4069497.82 | 32% | 37580667.34 | 9.23 | 18500 | 0.17019 | 4506087.11 | 37% | 45253024.13 | 10.04 | 20900 | 0.16951 | 4797964.39 | 41% | 54500341.04 | 11.36 | 22400 | 0.23529 | 4202955.08 | 34% | 48469477.78 | 11.53 | 19600 | 0.18992 | 5921164.02 | 38% | 57502126.59 | 9.71 | 24400 | 0.18513 | 6215684.47 | 41% | 78503979.21 | 12.63 | 25700 | 0.18163 | 4936724.56 | 42% | 72772659.31 | 14.74 | 18700 | 0.22209 | 7296705.15 | 45% | 112691180.66 | 15.44 | 37800 | 0.21106
Hot Water | 1422282.66 | 13% | 8645799.45 | 6.08 | 49000 | 0.52632 | 1550017.38 | 12% | 10587137.42 | 6.83 | 24400 | 0.22447 | 1700778 | 14% | 10920071.64 | 6.42 | 28700 | 0.23277 | 1708899.96 | 15% | 13376716.55 | 7.83 | 30000 | 0.31513 | 1862942.91 | 15% | 14243232.8 | 7.65 | 30200 | 0.29264 | 2590730.23 | 17% | 27678071.6 | 10.68 | 41800 | 0.31715 | 2078768.72 | 14% | 24285496.14 | 11.68 | 45100 | 0.31873 | 812712.67 | 7% | 9056631.91 | 11.14 | 24700 | 0.29335 | 1470636.96 | 9% | 9418759.83 | 6.4 | 41800 | 0.23339
HVAC | 5100047.39 | 46% | 26753224.07 | 5.25 | 61600 | 0.66165 | 5983877.54 | 48% | 39030329.37 | 6.52 | 54900 | 0.50506 | 5155284.56 | 42% | 37470039.34 | 7.27 | 48700 | 0.39497 | 4796902.09 | 41% | 39337201.59 | 8.2 | 49700 | 0.52206 | 5987453.25 | 48% | 43198229.34 | 7.21 | 58700 | 0.5688 | 6705631.02 | 43% | 39881128.93 | 5.95 | 71400 | 0.54173 | 7021945.44 | 46% | 68967368.96 | 9.82 | 77000 | 0.54417 | 5365420.88 | 46% | 62218151.3 | 11.6 | 54900 | 0.65202 | 6834252.5 | 42% | 75900498.5 | 11.11 | 89700 | 0.50084
Lighting | 0 | 0% | 1038170.81 | 0 | 6900 | 0.074114 | 1110.63 | 0% | 310038.37 | 279.15 | 2100 | 0.019319 | 2658.8 | 0% | 96577.95 | 36.32 | 600 | 0.0048662 | -5910 | 0% | 586481.66 | -99.24 | 1800 | 0.018908 | -84.55 | 0% | 1648302.92 | -19494.92 | 6600 | 0.063953 | -685.7 | 0% | 2105514.85 | -3070.61 | 7900 | 0.059939 | 292.3 | 0% | 2149577.22 | 7354.01 | 7600 | 0.05371 | 674.13 | 0% | 570276.64 | 845.94 | 3700 | 0.043943 | 451.4 | 0% | 681172.54 | 1509.02 | 7400 | 0.041318
Other | 745135.79 | 7% | 4392653.33 | 5.9 | 9400 | 0.10097 | 201425.45 | 2% | 2882078.56 | 14.31 | 10200 | 0.093836 | 152594.94 | 1% | 6348081.55 | 41.6 | 34800 | 0.28224 | 80957.88 | 1% | 546272.98 | 6.75 | 2700 | 0.028361 | 98492.35 | 1% | 465348.41 | 4.72 | 1700 | 0.016473 | 27685.57 | 0% | 2773495.83 | 100.18 | 9600 | 0.072838 | 26369.84 | 0% | 3352303.3 | 127.13 | 16900 | 0.11943 | 86 | 0% | 1702876.45 | 19800.89 | 8400 | 0.099762 | 128796 | 1% | 7432147.12 | 57.7 | 37300 | 0.20826
Plug Load | 212345.79 | 2% | 546140.96 | 2.57 | 19800 | 0.21267 | 0 | 0% | 16031.66 | 0 | 700 | 0.0064397 | [6 empty] | 0 | 0% | 55470.09 | 0 | 800 | 0.0084034 | 0 | 0% | 154025.44 | 0 | 4500 | 0.043605 | 38764.24 | 0% | 604736.33 | 15.6 | 6700 | 0.050835 | 0 | 0% | 213053.08 | 0 | 7300 | 0.05159 | 5643 | 0% | 142522.36 | 25.26 | 3100 | 0.036817 | 0 | 0% | 144173.79 | 0 | 4200 | 0.023451
Unknown | 310099 | 3% | 1778140.09 | 5.73 | 2000 | 0.021482 | 771854.27 | 6% | 5310307.88 | 6.88 | 40000 | 0.36799 | 810735.43 | 7% | 5273446.8 | 6.5 | 32000 | 0.25953 | 276474.44 | 2% | 4121301.45 | 14.91 | 1300 | 0.013655 | 209009.11 | 2% | 2975651.1 | 14.24 | 1400 | 0.013566 | 275541.4 | 2% | 2107963.17 | 7.65 | 1700 | 0.012898 | [6 empty] | 43312.5 | 0% | 2945618.37 | 68.01 | 4500 | 0.053444 | 85735.93 | 1% | 2096605.46 | 24.45 | 9000 | 0.050251
Upstream Hot Water | [30 empty] | 16409.89 | 0% | 136106 | 8.29 | 200 | 0.0015175 | [6 empty] | 482106.6 | 4% | 4683594.7 | 9.71 | 8500 | 0.10095 | 567632.4 | 3% | 5537794.45 | 9.76 | 10100 | 0.056393
Upstream HVAC | [48 empty] | * | * | * | * | *
Total | 11144074.96 | 100% | 80373602.39 | 7.21 | 93100 | 1 | 12577783.09 | 100% | 95716590.6 | 7.61 | 108700 | 1 | 12328138.83 | 100% | 105361241.41 | 8.55 | 123300 | 1 | 11771530.69 | 100% | 114126756.45 | 9.7 | 95200 | 1 | 12369780.47 | 100% | 111226700.39 | 8.99 | 103200 | 1 | 15593182.77 | 100% | 132972022.37 | 8.53 | 131800 | 1 | 15343060.78 | 100% | 177486263.31 | 11.57 | 141500 | 1 | 11646680.33 | 100% | 154092331.04 | 13.23 | 84200 | 1 | 16386443.33 | 100% | 213916832.34 | 13.05 | 179100 | 1
Applied filters: Suppression option is End use, Sub use, Year Fuel is Gas Sector is Residential Is_behavioral is 0 Suppression status is Suppression ON Option is * New_Construction_Rule is True Suppression_visible is False
| Envelope | End use | [17 empty] | 0.66667 | 0.66667 | [33 empty] | 0.66667
| 37216589.68 | Incentives | [17 empty] | 3.5 | 10.5
| 37580667.34 | Incentives | [17 empty] | 2.3333 | 7
| 45253024.13 | Incentives
| 54500341.04 | Incentives
| 48469477.78 | Incentives
| 57502126.59 | Incentives
| 78503979.21 | Incentives
| 72772659.31 | Incentives
| 112691180.66 | Incentives
| 11.1 | Incentives per therm saved
| 9.23 | Incentives per therm saved
| 10.04 | Incentives per therm saved
| 11.36 | Incentives per therm saved
| 11.53 | Incentives per therm saved
| 9.71 | Incentives per therm saved
| 12.63 | Incentives per therm saved
| 14.74 | Incentives per therm saved
| 15.44 | Incentives per therm saved
| 38500 | Number of projects
| 18500 | Number of projects
| 20900 | Number of projects
| 22400 | Number of projects
| 19600 | Number of projects
| 24400 | Number of projects
| 25700 | Number of projects
| 18700 | Number of projects
| 37800 | Number of projects
| 0.41353 | Percentage of projects
| 0.17019 | Percentage of projects
| 0.16951 | Percentage of projects
| 0.23529 | Percentage of projects
| 0.18992 | Percentage of projects
| 0.18513 | Percentage of projects
| 0.18163 | Percentage of projects
| 0.22209 | Percentage of projects
| 0.21106 | Percentage of projects
| 3354164.32 | Savings (therms)
| 4069497.82 | Savings (therms)
| 4506087.11 | Savings (therms)
| 4797964.39 | Savings (therms)
| 4202955.08 | Savings (therms)
| 5921164.02 | Savings (therms)
| 6215684.47 | Savings (therms)
| 4936724.56 | Savings (therms)
| 7296705.15 | Savings (therms)
| 30% | Savings by end use (%)
| 32% | Savings by end use (%)
| 37% | Savings by end use (%)
| 41% | Savings by end use (%)
| 34% | Savings by end use (%)
| 38% | Savings by end use (%)
| 41% | Savings by end use (%)
| 42% | Savings by end use (%)
| 45% | Savings by end use (%)