## Impact Evals
https://fileservice.eea.comacloud.net/FileService.Api/file/FileRoom/15035944
Sample Benefit Cost analysis
| Claims | MMBtu/Year
| Air Sealing Gas, SF | 2.8
| Insulation, Gas, SF | 14.1
| Air Sealing Oil, SF | 3.1
| Insulation Oil, SF | 13.8
| Air Sealing Gas, Attached Low Rise | 1.29
| Insulation, Gas, Attached Low Rise | 19.82
| Air Sealing Oil, Attached Low Rise | 1.85
| Insulation Oil, Attached Low Rise | 14.97
https://ma-eeac.org/wp-content/uploads/MA19R16-B-EO_-Energy-Optimization-Measures-and-Assumptions-Update-Model-2020-03-11-1.xlsx
Energy Optimization and Assumptions Model
Implies Calculated Savings from Res 34
| Furnace Heating Load | Pre-weatherization | 77.2 | MMBtu/year | Home Energy Services (HES) Impact Evaluation (RES 34) Engineering Algorithm Workbook Heating Load Calculated based on Annual Consumption
| Boiler Heating Load | Pre-weatherization | 77.2 | MMBtu/year | Home Energy Services (HES) Impact Evaluation (RES 34) Engineering Algorithm Workbook Heating Load Calculated based on Annual Consumption
| Furnace Heating Load | Post-weatherization | 67.1 | MMBtu/year | Pre-weatherization minus RES 34 calculated savings
| Boiler Heating Load | Post-weatherization | 67.1 | MMBtu/year | Pre-weatherization minus RES 34 calculated savings
https://ma-eeac.org/wp-content/uploads/MA-RES-39-HES-RR-Assessment-Executive-Summary_FINALwES_19MAR2020.pdf
Realization Rate Assessment -- Actual Averages |  | DMST | OPtix
| Pre | 1082 | 1171
| Post | 986 | 1085
| Change Therms | 96 | 86
"Models over predict energy consumption in older homes"
"Rebound effect is not a meaningful contributor to the realization rate disparity"
These seem to be for weatherization overall, multiple measures
Natural Gas weatherization participants
https://ma-eeac.org/wp-content/uploads/RES34_HES-Impact-Evaluation-Report-with-ES_FINAL_29AUG2018.pdf
Home Energy Services Impact Evaluation (Res 34)
Savings of 130 Therms per year state wide for air sealing and insulation in natural gas heated homes.
Previous evaluation in 2012 was 139 therms/year
The Home Energy Services (HES) initiative is the primary mechanism through which the Massachusetts Program Administrators (PAs) deliver energy efficiency to residential customers living in 1- to 4-unit homes.
To provide the PAs with the air sealing and insulation-type-specific savings shown Table 3-1, the team used the building simulation analysis to disaggregate the billing analysis-based weatherization estimate into these constituent parts.
2012 Home Energy Services Impact Evaluation REport
https://ma-eeac.org/wp-content/uploads/Home-Energy-Services-Impact-Evaluation-Report_Part-of-the-Massachusetts-2011-Residential-Retrofit-and-Low-Income-Program-Area-Evaluation.pdf
Table 14 Shows savings of 9% on usage of 1,112 Overal for insulation. 4% for Air Sealing. (Weather normalized.)
0.11137
2012 HES Impact Memo
https://ma-eeac.org/wp-content/uploads/Home-Energy-Services-Realization-Rate-Results-Memo-6-28-12.pdf
| Ex Post Commonwealthj Wide Savings |  | 139 | 1195 | 11.6%
Savings vs Normalized Average Consumption (therms)
Links to: | https://ma-eeac.org/wp-content/uploads/MA23X09-B-RCPS-Final-2021-Results-Brief.pdf
https://insight.dnv.com/MACustomerProfile/entity/Public/report/Ma-Customer-Profile-Study?bookmarkId=Bookmarka751bd4ddba4e0358b21
|  | All Programs -- Classes/Tracks |  |  |  | Residential Existing Buildings ONly
|  | Envelope | Hot water | HVAC | All | Envelope
| Gas Participants 2021 | 31600 | 38700 | 70500 | 118100 | 28500
| Gas Savings 2021 | 7296705 | 1470637 | 6834253 | 16386443 | 6130627
| Therms | 230.9084 | 38.001 | 96.9398 | 138.7506 | 215.1097
high . . . why?
| Elec Participants 2021 | 22900 |  |  | 208300
| Elec Savings 2021 | 16091774 |  |  | 439626837
| kwh | 702.6976 |  |  | 2110.5465
low . . . b/c savings are oil? This is just fan savings?
| Population Consumption 2021 | This report | SEDS
|  | 136.970 TeraBTU | 126.5
|  | 17.845 TWH | 20.3
https://insight.dnv.com/MACustomerProfile/entity/Public/report/Ma-Customer-Profile-Study?bookmarkId=Bookmark9b8a69b1eaa8007993c0
See a higher project count -- different from accounts or locations
From Katherine PetersEversourse -- 5 MMBTU?
2020 Plan Year Report Fuel : Electric; PA : All PAs; Year : 2020
*Data on the Measure Details tab will not match data on the Performance Details tab because the measure level data does not include all possible measures/values (e.g., carryover, measures with no BCR ID) that are captured in the data included in Performance Details.
| Category | Reporting Period | Sector | Program | Initiative | Measure | Quantity | Incentive ($) | Annual Electric Savings (MWh) | Lifetime Electric Savings (MWh) | Annual Gas Savings (Therms) | Lifetime Gas Savings (Therms) | Total Benefits ($)
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Central AC in Electrically-Heated Unit (Attached Low Rise) | 1 | 671 | 0 | 3 | - | - | 876
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Electric (Attached Low Rise) | 429 | 862786 | 908 | 22700 | - | - | 1596780
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Electric (Single Family) | 1408 | 2984496 | 2468 | 61688 | - | - | 4848236 | Therms/year/project
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Gas (Attached Low Rise) | 14 | 23899 | 1 | 25 | 840 | 20990 | 11100 |  | 59.9727
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Gas (Single Family) | 1762 | 3231319 | 1 | 19 | 112000 | 2799998 | 6248608 |  | 63.5641
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Oil (Attached Low Rise) | 863 | 2250074 | 80 | 1992 | - | - | 4944434
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Oil (Single Family) | 10228 | 26208869 | 919 | 22978 | - | - | 47661888
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Other (Attached Low Rise) | 45 | 85770 | 23 | 570 | - | - | 44939
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Other (Single Family) | 1059 | 2317106 | 82 | 2053 | - | - | 5352106
15809
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Electric (High Rise) | 1138 | 239458 | 416 | 10411 | - | - | 183695
| Electric | Actual | Residential | Residential Existing Buildings | Residential Coordinated Delivery | Insulation, Oil (High Rise) | 81 | 45651 | 13 | 332 | - | - | 47731
1219